1/26 Meeting Notes - Dr. Schwartz

- One of us should sign up for the UCar and take the test, and he can connect us with paying for a car.

- Next weeks internal meeting: Getting organized for a site visit

  - What does an energy audit site visit look like?

  - What pictures or data to collect

  - Determining where they have kitchens, what is the HVAC Equipment, what is the domestic water -> sizing equipment (if something is already working well i.e. no discomfort, we know that it is sized correctly already).

- Create checklist

- Assign roles

- Visit every meter and check meter settings to see if updated.

  - So when a meter is not being adjusted, the default setting is just a constant single temperature, rather than adjusting throughout the day/week. The difference between this can save a lot of energy

- Back to the data we have been reviewing: we have meter data but that is probably only 1/2 to 1/3 of the actual usage

  - Next step is determining propane usage

  - Propane is used for “heating degree days” where you need to have heater on, visa versa for cooling days, and then neutral days

  - Energy use by season -> total energy use low in summer high in winter

- What if the total annual energy use for propane = total annual energy use for electricity

  - or 2:1, or 3:2. Using the KNOWN electricity, scale the EXPECTED propane

  - Two columns for heating and energy

  - Average monthly temperatures (when below 60F, heating begins)

  - Other aspects contribute to heat, like electricity and light.

  - What Rachel cares most about is electricity and reducing bills

- Using Reopt, we can input the address, the rate schedule (commercial 24 PSE). Also can input compensation type for exporting energy “compensation for excess export beyond annual grid purchase $/kwh”. Consider this a “small office”.

  - They won't let you go negative, but you can completely offset energy costs!

  - Default to analysis period of 10 years

  - Read about what everything is

  - Capital costs will basically be free - put $0.01/kW-DC (putting in zero can cause issues with calculations).

  - Heat pump has to be sized according to heating needs.

  - Ideally be able to meet at least the demands at least over the last 3 years (e.g., coldest day over 1000 day period).

  - We can take electricity fluctuations and scale propane usage accordingly. Dr. Schwartz says there is a way to directly input propane usage but he would prefer we convert instead. Using engineering logic, parse down the conversion to a sensible method so we can put fuel and convert from fuel usage to heat pump. The more we can explain well to Rachel, the better.

  - The federal government is very cautious about projecting info to sovereign nations. This does unfortunately limit our available information and tools.

- He’ll put together another custom assignment for us over the next two weeks.

- Important to see what kinds of inputs go into ReOpt (convert data to average hourly loads). Each input should be understood and why we chose each input.

  - If we change the discount rate, why is the resulting info different? What does each number mean and what does it do to our estimates?

  - Need to learn about economic parameters and how they influence design.