Meeting with Dr. Schwartz

General updates

- He shared with us last year's community capstone projects Design Statement!

  - Great inspiration and guide

- He shared with us the Jamestown S’Klallum tribes progress with implementing their decarbonizing project

What is our role as “consultants”

- Hired to answer questions at the right level of design

- Large percent of ChemE’s will go into consulting

Lets briefly redefine our meetings with Rachel

- We should not be asking her questions we can ask ourselves

- Before we ask her to do work, ask ourselves “does it matter” “do we need this info”

- Go into PVWatts and see how much changing roof angles impacts the results, the impact may be less significant than we think it is

- Our job is to give her things to think about

Linear Regression: Uncertainty

- What is the R-squared of the linear regression -> how much variance in data (76%)

- ¾ of the relationship between temp and propane usage is described by temperature.

- What could some of the variances be due to?

  - Differences in delivery amounts

  - Scheduling -> daily variance

  - Planning big events or changes in daily activity

  - Environmental factors have impact on the propane consumption that don't follow our physics based model

    - Temperature

    - Sunny / cloudy periods of time impact the amount of solar heat gain

      - More solar heat gain would put value below line

    - Heat transfer coefficient - wind - external heat transfer - U changing the flow rate

Design statement

- Make sure our DS is an envelope of options

- Reflective of certainty and uncertainty

- Articulate economic models

- Keep in mind what is the appropriate level of design we are doing

- She is trying to figure out whether or not to trust us and our

- 3 possible economic models

  - Net metering

  - Time of use

- Ensure that our analysis is different from what any consultant would recommend, ensure we are bringing something valuable to the table

- Don't worry too much about data having uncertainties, but rather offer a couple different options for design constraints and show the expected results of each

He agrees that we should be checking our slides with him prior to meeting, we will do better with this next quarter, and attending office hours is a really good start. I think meeting Thursday night hasn't been the best approach to getting ourselves prepared for the meeting.

- He is open to meeting with us another hour in the week, as much as we need

- He emphasized that this is a project we are all working on together

Battery stuff with Sammy

- Schwartz connecting Sammy with person to help add into the ReOpt when a flex event is happening

- Weather is a huge part of it

- What is a flex event (duration, cause, how much they pay)

  - How expensive energy has to be to pay off