5/11 Meeting Notes

- Schwartz says not sure the no PV rows useful or not

- Very doable and wise to include both CEC and EC - more solar on one meter will mean more savings

- New administration complex - don’t need to look into this, constrain our design to CEC/EC/Longhouse

- Bosong questioned net billing - No state policy around net billing. But Rachel could have grants for this in the future. What are the implications if that meter is designated a net billing meter?

- Solar revenue is different depending on net billing vs. net metering. Currently, Rachel sees net billing as not a huge deal, but expanding solar to offset power could cause her to lose a lot of revenue.

- Useful to track the bids and breakeven relative to 10 year time by running 10-year simulations without capex.

- Educate her on possible implications of different scenarios, different ways to get funding, prices for capital equipment. As best as we can tell, there is a reasonable chance it is in this range, has huge implications for breakeven years, etc.

- Friday: Should we focus on key findings? Only discuss capital numbers?

  - Schwartz says explain thinking behind work we are doing on our final push.

  - Follow different paths, here is kind of info we are thinking about presenting.

  - Here is how we are thinking about presenting this in these buckets of economic indicators, breakeven time, etc.

  - Present overview of survey

  - Design rationale

- No results yet?

  - Schwartz says we can show example and explain implications

  - Start illustrating that this is a case where net billing is going to lose money

- 100 kW limit

  - Automatic net metering

  - New category of independent power producer, have to have lawyers to contract with the utility. They have no obligation to take your power.

  - Never an incentive to go outside 100 kW.

  - Cap is per meter, not per campus

- Rachel wants the ECC to have solar with largest roofspace? We’re still unclear on meters - there will be meters for all buildings except Longhouse (no independent meter).

- Survey says how much annual data is needed

- Meter data provided for the CEC and the breakouts of the propane.

- 1 hour, 2 hour, and 4 hour system - consider investigating this, Bosong wondering about these since it is hard to know what is best for the community.

- Duration of battery - 100 kW demand means 100 kWh battery (peak demand defines battery length) but put this as upper limit.

- If we run those on just electric boiler, REopt still optimizes to 0 for all of them.

- REopt will give a max capacity. If there is no cost, the system is extremely cheap, it will maximize.