6/1 Meeting Notes

- Fixed vs. broken controls - difference between opex fairly small

  - Modeling boiler complete turnoff when hot, causes there to be more propane use at some points during summer under fixed controls vs. no propane use with broken ones.

  - This accounts for low difference between them in terms of usage

  - Schwartz says he understands this, makes sense