# Port Gamble S’Klallam Tribe:

# COMPREHENSIVE CLIMATE ACTION PLAN

July 31, 2025

Prepared for:

U.S. Environmental Protection Agency

Climate Pollution Reduction Grant Program

Prepared by:

Port Gamble S’Klallam Tribe Natural Resources Department

With support from Cascadia Consulting Group

This project has been funded wholly by the United States Environmental Protection Agency (EPA) under assistance agreement 5D-02J43601 to the Port Gamble S’Klallam Tribe. The contents of this document do not necessarily reflect the views and policies of the EPA, nor does the EPA endorse trade names or recommend the use of commercial products mentioned in this document.

Table of Contents

1	Executive Summary	5

1.1.1	EPA’s Climate Pollution Reduction Program	5

1.1.2	Carbon Footprint Results for the Tribal Community and Government	5

1.1.3	CCAP Measures	6

1.1.4	Next Steps	10

2	Tribal Organization and Considerations	11

2.1	Special Considerations for the Port Gamble S’Klallam Tribe	11

2.2	Collaboration	11

3	CCAP Elements	12

3.1	Greenhouse Gas Inventory	12

3.2	GHG Emissions Projections	17

3.3	GHG Emissions Reduction Targets	19

3.4	GHG Emissions Reduction Measures	19

3.4.1	Carbon Removal	21

3.4.2	Buildings	23

3.4.3	Transportation	28

3.5	Benefits Analysis	30

3.5.1	Co-Pollutant Estimation	30

3.5.2	Other Benefits	33

3.6	Review of Authority to Implement	34

3.7	Identification of Other Funding Mechanisms	36

3.8	Workforce Planning Analysis	38

3.8.1	Overview	38

3.8.2	Carbon Removal	41

3.8.3	Buildings	45

3.8.4	Transportation	57

3.8.5	Summary of Workforce Needs and Additional Resources	59

4	Next Steps	63

Table of Figures

Figure 1. Communitywide GHG emissions by emission source (9,674 MT CO2e in 2022).	5

Figure 2. Government operations GHG emissions by emission source (3,085 MTCO2e in 2022).	5

Figure 3. The combined impact of federal, state, and Tribal emissions reductions is expected to nearly neutralize the Port Gamble S'Klallam Tribe's emissions by 2050.	8

Figure 4. Communitywide GHG emissions by emission source (2022).	14

Figure 5. Government operations GHG emissions by emission source (2022).	15

Figure 6. The Port Gamble S'Klallam Tribe's projected community emissions through 2050 and the estimated impact of federal and state policies in reducing the Tribe's projected community emissions.	18

Figure 7. The combined impact of federal, state, and Tribal emissions reductions is expected to nearly neutralize the Port Gamble S'Klallam Tribe's emissions by 2050.	20

Figure 8. Residents within the Port Gamble Census Designated Place worked in 20 industries in 2022. Source: U.S. Census, OnTheMap Tool.	37

Figure 9. Across Kitsap, Clallam, and Jefferson counties, employment is expected to grow in the public administration industry. Source: WA Employment Security Department, Aggregated Industry Projections, Olympic WDA, 2022-2032.	38

Figure 10. Across Kitsap, Clallam, and Jefferson counties, employment is expected to grow in the non-governmental industries needed for CCAP implementation. Source: WA Employment Security Department, Aggregated Industry Projections, Olympic WDA, 2022-2032.	39

Table of Tables

Table 1. Overview of CCAP measures, GHG reductions, net costs, cost effectiveness, and co-pollutant reductions for 2025-2050.	7

Table 2. Summary of workforce needs by CCAP measure.	9

Table 3. Communitywide GHG inventory emissions sectors, data sources, and methods.	13

Table 4. Government operations GHG inventory emissions sectors, data sources, and methods.	14

Table 5. Communitywide GHG emissions by source (MTCO2e).	15

Table 6. Government operations GHG emissions by source (MTCO2e).	16

Table 7. Scenarios, policies, and assumptions used in GHG emissions projections.	17

Table 8. Port Gamble S’Klallam Tribe GHG reduction measures.	20

Table 9. Summary of Measure 1 implementation details, including emissions reduction and cost.	21

Table 10. Summary of Measure 2 implementation details, including emissions reduction and cost.	22

Table 11. Summary of Measure 3 implementation details, including emissions reduction and cost.	24

Table 12. Summary of Measure 4 implementation details, including emissions reduction and cost.	25

Table 13. Summary of Measure 5 implementation details, including emissions reduction and cost.	27

Table 14. Summary of Measure 6 implementation details, including emissions reduction and cost.	28

Table 15. Baseline co-pollutants from stationary combustion – community (2022).	30

Table 16. Baseline co-pollutants from stationary combustion – government operations (2022). 	30

Table 17. Baseline co-pollutants from mobile combustion – community (2022).	30

Table 18. Baseline co-pollutants from mobile combustion – government operations (2022).	30

Table 19. Anticipated co-pollutant reductions occurring within the Tribe’s area for each measure (through 2050, beginning in each measure’s implementation start year).	31

Table 20. Anticipated co-pollutant reductions occurring outside of the Tribe’s area for each measure (through 2050, beginning in each measure's implementation year). These reductions occur at the source of energy production due to the reduced energy consumption from improved energy efficiency in Measure 3 and Measure 5.	31

Table 21. Anticipated hazardous air pollutant (HAP) reductions for each measure (through 2050, beginning in each measure's implementation year). HAP are found in fuel oil, which is reduced in Measure 3.	32

Table 22. Summary of other economic, community, and environmental benefits of CCAP measure implementation.	32

Table 23. Implementation authority and key milestones for each measure.	34

Table 24. Summary of funding to implement CCAP measures.	36

Table 25. Summary of occupations, education, training, and KSA to implement Measure 1 and Measure 2.	41

Table 26. Partnerships, programs, and funding opportunities that can support Measure 1.	43

Table 27. Partnerships, programs, and funding opportunities that can support Measure 2.	43

Table 28. Summary of occupations, education, training, and KSA to implement Measure 3.	44

Table 29. Partnerships, programs, and funding opportunities that can support Measure 3.	47

Table 30. Summary of occupations, education, training, and KSA to implement Measure 4.	48

Table 31. Partnerships, programs, and funding opportunities that can support Measure 4.	49

Table 32. Summary of occupations, education, training, and KSA to implement Measure 5.	50

Table 33. Partnerships, programs, and funding opportunities that can support Measure 5.	53

Table 34. Summary of occupations, education, training, and KSA to implement Measure 6.	54

Table 35. Partnerships, programs, and funding opportunities that can support Measure 6.	55

Table 36. Anticipated workforce needs for CCAP implementation across all measures.	56

Table 37. Supportive services and programs to aid CCAP measure implementation.	57

# Executive Summary

The Port Gamble S’Klallam Tribe (the Tribe) were originally known as the Nux Sklai Yem (the Strong People) and are the descendants of the Salish people, who have been well established in the Puget Sound basin and surrounding areas since 2400 B.C. S’Klallam peoples have inhabited the shoreline of the Strait of Juan de Fuca and Puget Sound from Hoko to Port Gamble since time immemorial, with culture and subsistence tied inextricably to the sustainable natural bounty of the seas and coastal forests. The Tribe exercises treaty rights and works towards the preservation of traditional lands and waters ceded under the 1855 Treaty of Point No Point.

The Port Gamble S’Klallam Tribe Reservation, located on the northern tip of the Kitsap peninsula in Washington state, was established in the late 1930s, 88 years after lands were ceded through the Point No Point treaty. Many of the Tribe’s members, who total about 1,400, still live there today.

### EPA’s Climate Pollution Reduction Program

Climate change poses a serious threat to Tribal sovereignty. The Port Gamble S’Klallam Tribe received funding through the U.S. Environmental Protection Agency (EPA) Climate Pollution Reduction Grant (CPRG) to develop a Priority Climate Action Plan (PCAP) and a Comprehensive Climate Action Plan (CCAP) to reduce greenhouse gas (GHG) emissions and other harmful air pollution.

The CCAP establishes a baseline understanding of GHG emissions and potential measures the Tribe can use to reduce emissions and store carbon. To develop the CCAP, the planning team—consisting of the Tribe’s Natural Resources department with support from Cascadia Consulting Group—prepared a GHG inventory; projected GHG emissions based on anticipated growth; developed 2030 and 2050 emissions reduction targets; qualitatively evaluated and prioritized measures to include in the CCAP; quantitatively estimated emissions reductions, cost, cost effectiveness, and co-pollutant reductions; assessed authority to implement; identified funding mechanisms; and identified workforce development needs, opportunities, and partnerships. The CCAP will serve as the foundation for ongoing climate action implementation to reduce emissions and build Tribal resilience.

### Carbon Footprint Results for the Tribal Community and Government

In 2022, the Port Gamble S’Klallam Tribe community (residents, businesses, and visitors) generated an estimated 9,674 metric tons of carbon dioxide equivalent (MTCO2e) (Figure 1). In the same year, the Tribe’s government operations generated an estimated 3,085 MTCO2e (Figure 2).

The community and tribal operations also generated several co-pollutants.  In 2022, the community generated 19.74 MT carbon monoxide (CO), 1.03 MT nitrous oxides (NOx), 0.01 MT sulfur oxides (SOx), 0.85 MT volatile organic compounds (VOC), 0.046 MT fine particle pollution (PM2.5), and 0.17 MT particle pollution (PM10) across stationary and mobile combustion sources. The same year, government operations generated 2.13 MT CO, 0.26 MT NOx, <0.01 MT SOx, 0.087 MT VOC, <0.01 MT PM2.5, and 0.015 MT PM10 across stationary and mobile combustion sources.

An analysis of the Tribe’s landcover estimated that 1,204 MTCO2e were emitted from forest disturbances and land use alterations, and 7,512 MTCO2e were sequestered from undisturbed forest and reforestation, resulting in a net benefit of 6,308 MTCO2e.

The planning team completed a wedge analysis that forecasts anticipated future GHG emissions and emissions reductions based on 2022 emissions and projected growth. The analysis included business-as-usual (BAU) and adjusted business-as-usual (ABAU) scenarios and analyzed the impact of CCAP measures. An ABAU scenario accounts for the impact of key state and federal climate regulations. It is a best practice in sustainability planning to account for emissions changes that are likely to occur from external regulations to avoid overstating emissions reductions that will be achieved through CCAP measures.

| Figure 1. Communitywide GHG emissions by emission source (9,674 MT CO2e in 2022). | Figure 2. Government operations GHG emissions by emission source (3,085 MTCO2e in 2022). |
| --- | --- |

### CCAP Measures

In developing CCAP measures, the Tribe sought emissions reduction and carbon storage opportunities that align strongly with Tribal climate goals, are well-supported by Tribal staff, are fully within the Tribe’s control to implement, and would benefit community members, especially those in low- and moderate-income households. The Tribe’s climate goals are to:

- Ensure the protection of Treaty Rights and Treaty-protected resources against climate impacts.

- Store carbon on natural lands to support resource protection and resilience to climate change (for example, for forests, fish, and shellfish).

- Increase energy independence and resilience through renewable energy, energy efficiency, and other means (for example, rooftop solar and resilience hubs for key buildings).

Through a prioritization process, the Tribe selected six CCAP measures: two carbon removal measures, two buildings measure, one electric power measure related to buildings, and one transportation measure. They are described in Table 1 below, along with their emissions reductions, costs, cost effectiveness, and key implementation details. The combined impact of federal, state, and Tribal emissions reduction policies is shown in Figure 3 below.

Table 1. Overview of CCAP measures, GHG reductions, net costs, cost effectiveness, and co-pollutant reductions for 2025-2050.

| Measure Implementation Details | Emissions Reduction | Net Costs ($), |  | Cost Effectiveness | Co-Pollutant Reductions |
| --- | --- | --- | --- | --- | --- |
|  | (MTCO2e) | Government | Community | ($/MTCO2e) | (MT) |
| 1. Forest, wetland, and riparian understory protection and restoration Lead: Natural Resources Timeline: 2024–2050 Funding: Existing + new grants | 47,982 | $1,675,741 | $0 | $35 | N/A |
| 2. Eelgrass, surfgrass, and kelp protection and restoration Lead: Natural Resources Timeline: 2025–2050 Funding: Existing + new grants | 1,132 | $2,031,787 | $0 | $1,794 | N/A |
| 3. Residential, commercial, and municipal energy efficiency and electrification upgrades in existing buildings Lead: Facilities Timeline: 2025–2050 Funding: Existing + new grants; private capital/loans | 3,430 | $600,621 | $275,377 | $255 | CO: 1.22 NOx: 3.31 SOx: 0.02 NH3: 0.17 VOC: 0.13 PM2.5: 0.16 PM10: 0.17 |
| 4. Rooftop solar installations on key facilities Lead: Utilities Timeline: 2025–2050 Funding: Existing + new grants; private capital/loans | 379 | ($2,240,774) | $0 | ($5,905) | NOx: 17.85 SOx: 9.21 NH3: 0.38 VOC: 0.58 PM2.5: 1.73 |
| 5. Resilience hubs in existing buildings Lead: Planning Timeline: 2025–2050 Funding: Existing + new grants | 106 | ($1,252,190) | $0 | ($11,788) | NOx: 2.57 SOx: 1.32 NH3: 0.06 VOC: 0.08 PM2.5: 0.25 |
| 6. Tribal fleet electrification and charging Lead: Natural Resources Timeline: 2025–2050 Funding: Existing + new grants | 2,035 | $9,335 | $0 | $5 | CO: 23.92 NOx: 0.84 SOx: 0.02 VOC: 0.99 PM2.5: 0.02 PM10: 0.02 |
| Total | 55,065 | $824,521 | $275,377 | $20 | CO: 25.14 NOx: 24.57 SOx: 10.58 NH3: 0.61 VOC: 1.78 PM2.5: 2.15 PM10: 0.19 |

Figure 3. The combined impact of federal, state, and Tribal emissions reductions is expected to nearly neutralize the Port Gamble S'Klallam Tribe's emissions by 2050.

To support CCAP implementation, the Tribe anticipates hiring up to three full-time equivalent (FTE) staff and retaining skilled contractors in the following industries: construction, manufacturing, utilities, transportation and warehousing, management of companies and enterprises, and professional, scientific and technical services. While the regional employment base is sufficient to meet Tribal workforce needs, prioritizing Tribal members for implementing CCAP measures will likely require focused workforce development activities. These activities are summarized in Table 2.

Table 2. Summary of workforce needs by CCAP measure.

| Measure | Summary of Workforce Needs |
| --- | --- |
| 1. Forest, wetland, and riparian understory protection and restoration | - Support education and training for Tribal youth interested in these fields, which may include a master’s degree or PhD. - Identify consistent partners for recruiting seasonal work crew support. |
| 2. Eelgrass, surfgrass, and kelp protection and restoration | - Support education and training for Tribal youth interested in these fields, which may include a master’s degree or PhD. - Identify consistent partners for recruiting seasonal work crew support. |
| 3. Residential, commercial, and municipal energy efficiency and electrification upgrades in existing buildings | - Support education and training for Tribal youth interested in these fields. In general, a high school diploma or vocational training is needed. A bachelor’s or master’s degree is needed for energy engineers. - Provide focused in-person and online re-training for existing Tribal staff that includes wrap-around support services (for example, transportation, childcare). |
| 4. Rooftop solar installations on key facilities | - Support education and training for Tribal youth interested in these fields to attain a high school diploma and/or the necessary vocational training. - Provide focused in-person and online re-training for existing Tribal staff that includes transportation, childcare, and other services that support participation. |
| 5. Resilience hubs in existing buildings | - Support education and training for Tribal youth interested in these fields, which can extend from a high school diploma for construction-related jobs to a bachelor’s or master’s degree for health and emergency management jobs. - Provide focused in-person and online re-training for existing Tribal staff that includes transportation, childcare, and other services that support participation. |
| 6. Tribal fleet electrification and charging | - Support education and training for Tribal youth interested in these fields to attain the necessary vocational training. - Provide focused in-person and online re-training for existing Tribal staff that includes transportation, childcare, and other services that support participation. |

### Next Steps

In the coming years, the Port Gamble S’Klallam Tribe will implement the CCAP alongside other key Tribal initiatives such as the Strategic Energy Plan and Tribal Campus Master Plan. Indeed, implementation of many CCAP measures is already underway, with emissions reductions and carbon storage anticipated as soon as this year in the buildings and carbon removal sectors.

The Tribe’s success hinges partly on the state achieving net-zero energy by 2030 and on federal and state policy implementation of vehicle fuel efficiency and clean fuel standards, refrigerant management policies, and the internal combustion ban. Should any of these policies change significantly or new requirements be codified at the federal, state, or county level, the Tribe will reassess the impact and costs of CCAP measures to determine if changes in Tribal goals and investment in emissions reduction and carbon storage are needed.

# Tribal Organization and Considerations

The Port Gamble S’Klallam Tribe is governed by a six-person, duly elected Tribal Council. Tribal operations are managed by a robust governmental structure that provides services to Tribal members and protects the Tribe’s land, culture, and resources. Climate change is a priority for Tribal Council. The Natural Resources Department led CCAP development, collaborating across Tribal departments and with Noo-Kayet Investments (NKI), with oversight of planning and implementation by Tribal Council.

## Special Considerations for the Port Gamble S’Klallam Tribe

The Port Gamble S’Klallam Tribe Reservation is located on the northern tip of the Hood Canal, one of Washington’s many water bodies that constitute the Salish Sea. Given its unique geographic position, the Tribe’s CCAP measures embrace a comprehensive approach that not only addresses emissions reduction but also recognizes the importance of adaptation and resilience to climate change impacts. In addition to reducing emissions, the CCAP measures will help protect against the impacts of coastal erosion along shorelines caused by sea level rise, protect critical aquatic species and ecosystems, and improve the health of forests, wetlands, and riparian areas.

The Tribe holds and manages around 1,200 acres of forest lands fully in trust. Through the CCAP, the Port Gamble S’Klallam Tribe will enhance the resilience of the Tribal community and natural resources to climate change. This focus on natural lands protection and carbon storage supports Tribal ways of life and economic development.

The Port Gamble S’Klallam Tribe is working towards energy independence to support the economic sovereignty of the Tribe and to create resilience and protection from natural disasters. Through the CCAP, the Tribe will increase its use of solar power while reducing energy consumption and reliance on fossil fuels in key buildings and fleet operations. The Tribe will also establish two energy-efficient resilience hubs to support the Tribal community during natural disasters and emergencies.

## Collaboration

Collaboration was an essential part of the CCAP development process. At the onset of the PCAP and CCAP process, the Tribe secured Cascadia Consulting Group as a contractor to help prepare the PCAP, CCAP, and associated analyses.

Collaborative efforts also provided necessary GHG emissions information and data to support the GHG inventory. The planning team worked with Puget Sound Energy to gather electricity data, Bainbridge Disposal for waste generation data, and Port Gamble S’Klallam Tribe’s Utilities Department for wastewater treatment data. The planning team also leveraged state data and resources from the Washington (WA) Department of Commerce, WA Employment Security Department, and the WA Workforce Training and Education Coordinating Board to prepare the workforce analysis.

Tribal staff also shared information on the CCAP process and interim results at the annual Strong Families Fair for Tribal members and their families. Staff participated in training opportunities provided by the Affiliated Tribes of Northwest Indians (ATNI) with representatives of other tribes to learn best practices for planning and engagement. Tribal staff also regularly engaged in discussion groups concerning the Washington CPRG planning efforts that were hosted by state agencies and took part in workshops for the Seattle-Bellevue-Tacoma Metropolitan Statistical Area CPRG planning efforts. Staff participated in an advisory board for the state CPRG process led by the WA Department of Commerce, gleaning further information on best practices and how to best distinguish the Tribe’s CPRG measures from state and regional actions.

# CCAP Elements

To develop the CCAP elements, the Port Gamble S’Klallam Tribe:

- Completed community and government operations GHG inventories using the Global Protocol for Community-Scale GHG Emissions and Local Government Operations Protocol, respectively.

- Prepared two emissions projection scenarios through 2050: a business-as-usual (BAU) scenario assuming no further action to reduce emissions and an adjusted-business-as-usual (ABAU) scenario that accounts for emissions reductions anticipated from state and federal policies.

- Prepared near- and long-term emissions reduction targets consistent with global and state goals, as well as with best available science.

- Identified six measures for inclusion in the CCAP, based on a review of key Tribal planning documents, Tribal staff input, and qualitative screening for alignment with the Tribe’s goals and priorities, CPRG implementation grant evaluation criteria, and overall benefits to the Tribe.

- Calculated estimated emissions reductions (MTCO2e) and expected costs and cost effectiveness ($/MTCO2e) for the six measures.

- Estimated baseline co-pollutants (CO, NOx, SOx, NH3, PM2.5, PM10, VOC) and calculated estimated reductions in co-pollutants and hazardous air pollutants (HAP) from measures, in accordance with the EPA’s reference document (Climate Pollution Reduction Grants Program: Technical Reference Document: Benefits Analyses: Co-Pollutant Impacts).

- Developed detailed implementation plans for each measure, including review of authority to implement and identification of funding mechanisms.

- Conducted a workforce planning analysis to determine whether any job losses or gains would be expected from CCAP implementation and to identify workforce development services and partnerships to support Tribal member employment.

The following eight sections summarize the results from these elements.

## Greenhouse Gas Inventory

A greenhouse gas (GHG) inventory refers to a list of emission sources and sinks and the associated emissions quantified using standard methods and protocols.

The Port Gamble S’Klallam Tribe completed communitywide and government operations GHG inventories for the year 2022. Both inventories used the U.S. EPA’s Tribal GHG Inventory Tool: the Community Module calculates emissions in accordance with the Global Protocol for Community-Scale GHG Emissions, and the Government Operations Module calculates emissions in accordance with the Local Government Operations Protocol. Table 3 and Table 3Table 4 below outline the emissions sectors, data sources, and methods for each inventory.

Table 3. Communitywide GHG inventory emissions sectors, data sources, and methods.

| Emissions Sector | Data and Method |
| --- | --- |
| Stationary Combustion | Downscaled WA state energy data using number of households for residential energy and number of jobs for commercial energy (U.S. Census and Energy Information Administration (EIA)). |
| Mobile Combustion | On-road: Downscaled Kingston, WA vehicle miles traveled (VMT) data by population from Puget Sound Regional Council’s (PSRC) transportation model. The transportation model had VMT separated out by vehicle type. Estimated fuel mix using the EPA’s vehicle mix defaults. Off-road: Ran the EPA MOVES model for Kitsap County and scaled to the Tribe’s population. Population data came from the U.S. Census (DP05 ¦ American Community Survey (ACS) Demographic and Housing Estimates; 2022; ACS 5-Year Estimates Data Profiles). |
| Electricity | Received electricity consumption data by sector and utility-specific emissions factors by electricity program directly from Puget Sound Energy. |
| Waste Generation | Residential: Received residential bin sizes, number of serviced bins, and pickup frequency of bins to estimate residential landfill tonnage from Bainbridge Disposal. Assumed an average fullness of 75% and used the EPA’s average weight of residential waste of 225 pounds per cubic yard. Applied this estimated tonnage to WA’s 2020–2021 Waste Characterization Study’s Table 18 (Residential Disposed Waste Sector, Detailed Composition, 2020–2021) and EPA WARM’s material types. Input tonnage separated by material type into EPA WARM 16. Since the landfill is not within the Tribe’s boundaries, waste was classified as a Scope 3 emissions source rather than a Scope 1 emissions source. Commercial: Downscaled WA commercial tonnage using number of jobs (Census). Applied this estimated tonnage to WA’s 2020–2021 Waste Characterization Study’s Table 16 (Commercial Disposed Waste Sector, Detailed Composition, 2020–2021) and EPA WARM’s material types. Input tonnage separated by material type into EPA WARM 16. Since the landfill is not within the Tribe’s boundaries, waste was classified as a Scope 3 emissions source rather than a Scope 1 emissions source. |
| Wastewater Treatment | Received wastewater treatment information, such as population served by the Tribe’s facility and the types of treatment occurring at the facility, from the Tribe’s Utilities Department, which operates the wastewater treatment facility located on the Reservation. |
| Aviation | Fuel data was obtained from Seattle-Tacoma International Airport and scaled to the surrounding counties using a combination of data from two different passenger surveys provided by the airport. Kitsap County’s allocated fuel use was then distributed to each of its jurisdictions using an income-weighted household approach, using income and household data from the U.S. Census. |
| Refrigerants | National refrigerant emissions were obtained from the 2021 Inventory of U.S. Greenhouse Gas Emissions and Sinks. A per-capita emission estimate was developed using total U.S. refrigerant emissions and U.S. population in 2021. This per-capita emission estimate was then scaled to the Tribe’s 2022 population using data from the U.S. Census. |
| Agriculture | Livestock data for Kitsap County was obtained from the 2022 Washington Census of Agriculture and downscaled based on Tribal population. |

Table 4. Government operations GHG inventory emissions sectors, data sources, and methods.

| Emissions Sector | Data and Method |
| --- | --- |
| Stationary Combustion | Received Tribal-specific propane consumption data for Nov 2022 – Oct 2023 and assumed 2022 calendar year data was the same as the provided 12-month total. |
| Mobile Combustion | Received VMT by vehicle type for approximately one third of the Tribe’s fleet in 2022. Used EPA vehicle mix defaults to estimate fuel types. Scaled data up by two thirds to estimate emissions of the total fleet. |
| Electricity | Received Tribal-specific electricity consumption data for the 2022 calendar year. Obtained Puget Sound Energy’s utility-specific emissions factor from the Edison Electric Institute (EEI). |
| Waste Generation | Received Tribal-specific landfill tonnage data for 2022 and applied that tonnage to WA’s 2020–2021 Waste Characterization Study’s Table 16 (Commercial Disposed Waste Sector, Detailed Composition, 2020–2021) and EPA WARM’s material types. Input tonnage separated by material type into EPA WARM 16. Since the landfill in which this waste is disposed of is not within the Tribe’s boundaries or operational control, waste was classified as a Scope 3 emissions source rather than a Scope 1 emissions source. |
| Employee Commute | Obtained communitywide commuting patterns (mode of transportation to work) from the ACS (S0802 ¦ Means of Transportation to Work by Selected Characteristics; 2022; ACS 5-Year Estimates Subject Tables). and applied these percentages to Tribal employee count. Assumed an average one-way commute distance for employees to be 12.6 miles in alignment with Tribal Greenhouse Gas Inventory Tool (TGIT) recommendations for a default commute distance if more locally specific data were unavailable. |
| Wastewater Treatment | Received wastewater treatment information, such as population served by the Tribe’s facility and the types of treatment occurring at the facility, from the Tribe’s Utilities Department, which operates the wastewater treatment facility located on the Reservation. |

In 2022, the Port Gamble S’Klallam Tribe community (residents, businesses, and visitors) generated an estimated 9,674 MTCO2e (Figure 4).

- Electricity was the largest source of 2022 communitywide emissions included in this inventory, responsible for 66% of total emissions MTCO2e (6,346 MTCO2e).

- Mobile combustion (transportation) was the next largest source, responsible for 18% of emissions (1,685 MTCO2e).

- The remaining emissions came from refrigerant use (5%; 466 MTCO2e), stationary combustion (4%; 401 MTCO2e), aviation (3%; 325 MTCO2e), off-road vehicles and equipment (3%; 313 MTCO2e), solid waste generation (1%; 88 MTCO2e), wastewater treatment (<1%; 39 MTCO2e), and agriculture (<1%; 11 MTCO2e).

Figure 4. Communitywide GHG emissions by emission source (2022).

Table 5 below summarizes communitywide GHG emissions in 2022 by type of gas: CO2, methane (CH4), and nitrous oxide (N20).

Table 5. Communitywide GHG emissions by source (MTCO2e).

| Source | CO2 | CH4 | N2O | Total |
| --- | --- | --- | --- | --- |
| Stationary Combustion | 400 | 0.5 | 0.9 | 401 |
| Mobile Combustion | 1,610 | 18 | 57 | 1,685 |
| Electricity | 6,346 | - | - | 6,346 |
| Waste Generation | - | 88 | - | 88 |
| Wastewater Treatment | - | 32 | 6 | 38 |
| Off-road | 313 | - | - | 313 |
| Aviation | 324 | 0.4 | 0.7 | 325 |
| Refrigerants | 466 | - | - | 466 |
| Agriculture | - | 11 | 0.1 | 11 |
| Total | 9,459 | 150 | 65 | 9,674 |

In 2022, the Port Gamble S’Klallam Tribe government operations generated an estimated 3,085 MTCO2e (Figure 5). Table 6 below summarizes government operations GHG emissions in 2022 by type of gas.

- Electricity was the largest source of 2022 government operations emissions included in this inventory, responsible for 61% of total emissions (1,871 MTCO2e).

- Employee commuting was the next largest source, responsible for 26% of emissions (811 MTCO2e).

- The remaining emissions came from mobile combustion (6%; 198 MTCO2e), stationary combustion (5%; 153 MTCO2e), wastewater treatment (1%; 38 MTCO2e), and solid waste generation (1%; 15 MTCO2e).

Figure 5. Government operations GHG emissions by emission source (2022).

Table 6. Government operations GHG emissions by source (MTCO2e).

| Source | CO2 | CH4 | N2O | Total |
| --- | --- | --- | --- | --- |
| Stationary Combustion | 152 | 0.2 | 0.4 | 153 |
| Mobile Combustion | 194 | 0.8 | 3 | 198 |
| Electricity | 1,871 | - | - | 1,871 |
| Waste Generation | - | 15 | - | 15 |
| Employee Commute | 811 | - | - | 811 |
| Wastewater Treatment | - | 32 | 6 | 38 |
| Total | 3,028 | 48 | 9 | 3,085 |

In addition to estimating emissions produced within the Tribe’s boundaries, this CCAP also includes annual emissions and sequestration estimates from the Tribe’s natural lands within the Reservation boundary. The Tribe used the Land Emissions and Removals Navigator (LEARN) tool, which was developed by ICLEI to help communities in the United States estimate the local GHG impacts of their forests and trees. The tool estimates GHG emissions and carbon sequestration from forests, trees, and land use changes. Because permanent land use changes occur over multiple years, the LEARN tool calculates annual emissions over a range of three or more years, so this analysis used 2016–2019.

The LEARN tool estimated that land use changes in the Tribe’s boundaries produced 1,204 MTCO2e annually in 2016–2019. The LEARN tool estimated that trees in the Tribe’s boundaries sequestered 7,512 MTCO2e annually in that same period. These estimates of land use changes are provided for informational purposes only and are not included in the emissions summaries above.

## GHG Emissions Projections

To better understand future emissions, the planning team completed a wedge analysis that forecasts anticipated future GHG emissions and emissions reductions based on 2022 emissions and projected growth. The analysis included business-as-usual (BAU) and adjusted business-as-usual (ABAU) scenarios and analyzed the impact of CCAP measures (see the GHG Emissions Reduction Measures section below). An ABAU scenario accounts for the impact of key state and federal climate regulations; it is a best practice to account for these anticipated emissions changes in sustainability planning. Each regulation is described below and reduces the amount of GHGs the Tribe is responsible for neutralizing through their CCAP measures. If ABAU emissions are not accounted for, emissions reductions achieved through CCAP measures would appear higher. See Table 7 for a description of scenarios, policies, and assumptions used in GHG emissions projections.

Table 7. Scenarios, policies, and assumptions used in GHG emissions projections.

| Scenario and Policy | Description and Assumptions |
| --- | --- |
| BAU No action | The BAU assumes no policy interventions. The model used population projections from the Port Gamble S’Klallam Tribe’s Water System Plan. It assumed jobs will grow at the same rate as population and assumed a static resident/household rate, based on resident growth. Baseline population and jobs numbers are from the U.S. Census Bureau. |
| ABAU Clean Energy Transformation Act (CETA) | CETA applies to all electric utilities serving retail customers in Washington and sets specific milestones: - By 2030, utilities must be GHG neutral, with flexibility to use limited amounts of electricity from natural gas if it is offset by other actions. The model assumed this goal is achieved. |
| ABAU Federal Vehicle Regulations (CAFE) | Corporate Average Fuel Economy (CAFE) standards are regulated by the U.S. Department of Transportation and supported by the EPA, which calculates average fuel economy levels for manufacturers, and set related GHG standards. Based on PSRC Vision 2050 modeling, the model assumed the following changes in vehicle emissions intensity (gCO2e/mile): - Light duty vehicles: 28% reduction from 2018 to 2050. - Heavy duty vehicles: 23% reduction from 2018 to 2050. Therefore, the model assumed the following changes to average fleet fuel economy (average miles per gallon) from a 2022 baseline: - Light-duty vehicles: 28% reduction from 2022 to 2050 - Heavy-duty vehicles: 23% reduction from 2022 to 2050 |
| ABAU WA Clean Fuel Standard (HB 1091) | The Clean Fuel Standard requires a 20% reduction in the carbon intensity of transportation fuels by 2038, compared to a 2017 baseline level. The model assumed the 2022 transportation fuel emissions factors are applicable for 2017-2023 (2017 is policy baseline year). Compared to baseline, the model assumed the following fuel carbon intensities for gasoline and diesel vehicles (passenger, heavy duty, transit): - 3.5% reduction in per-gallon emissions from cleaner fuels by 2030. - 10% reduction in per-gallon emissions from cleaner fuels by 2040. - Maintain 10% reduction levels to 2050. |
| ABAU WA Internal Combustion Engine Ban (SB 5974) | As part of the Move Ahead Washington program, WA would ban sale of gasoline and diesel internal combustion engine passenger vehicles starting in 2030. For the internal combustion engine ban, the model assumes a 15-year vehicle turnover rate, with the following proportion of new sales being electric vehicles (a conservative estimate given that the internal combustion engine ban is currently a goal and lacks a clear accountability mechanism): - 25% by 2026. - 65% by 2030. - 100% by 2035. - Maintained at 100% thereafter. |
| ABAU WA Refrigerant Policies | Hydrofluorocarbons (HFC) — Emissions Reduction, Chapter 70A.60 RCW, signed into law in May 2021, expands on 2019 HFC restrictions. This new law sets maximum global warming potential thresholds and establishes a refrigerant management program to address refrigerant emissions. This law also bans the sale and purchase of certain HFC refrigerants with high global warming potential as well as non-essential consumer products (like air horns and noisemakers) which contain these same refrigerants. The WA Department of Ecology projects that when combined with complementary federal laws, there will be a: - 75% reduction in Washington HFC emissions by 2035. |

Under the BAU scenario, the Port Gamble S’Klallam Tribe’s emissions are forecasted to increase 154% by 2050 compared to the 2022 GHG baseline. Under the ABAU scenario, assuming significant emissions reductions from the key federal and state climate policies listed above, the Tribe’s emissions are projected to decrease 89% by 2050 (Figure 6). The model also forecasted expected emissions reductions from local CCAP measures, which are summarized below in the GHG Emissions Reduction Measures section.

Figure 6. The Port Gamble S'Klallam Tribe's projected community emissions through 2050 and the estimated impact of federal and state policies in reducing the Tribe's projected community emissions.

## GHG Emissions Reduction Targets

An emissions reduction target is a goal that describes the emissions reductions to be achieved by a certain date, compared to baseline emissions in a certain year. Goals may be voluntary or required.

Washington State formally adopted emissions reduction targets of 45% by 2030 and 95% by 2050, compared to a 1990 baseline. The remaining 5% by 2050 can be met with carbon storage solutions. The Tribe shares geography with Kitsap County, which has not formally adopted emissions reduction targets. Globally, best available science suggests halving emissions by 2030 and reaching net-zero by 2050.

To be consistent with global and state goals as well as best available science, the Port Gamble S’Klallam Tribe intends to reduce community emissions 45% by 2030 and to reach net-zero by 2050. The baseline year is 2022, to align with the GHG inventory completed for the CCAP.

## GHG Emissions Reduction Measures

The Port Gamble S’Klallam Tribe’s CCAP measures are identified in Table 8. Collected from existing Tribal plans and materials, these measures were identified as priority measures for achieving the Tribe’s goals for GHG emissions reductions but do not represent an exhaustive list of the Tribe’s priorities. This CCAP focuses on measures that will begin reducing emissions in the next five years, are fully or substantially within the Tribe’s control to implement, and align with the Tribe’s overall goals and priorities. Most of the measures build on existing funding, draw on experience implementing similar projects, and are replicable and scalable across Tribal lands or beyond. Only the fleet electrification measure (Measure 6) involves a significant new role for Tribal staff and as such, represents a significant scaling opportunity.

Table 8. Port Gamble S’Klallam Tribe GHG reduction measures.

| Measure ID | Sector | Priority Measure |
| --- | --- | --- |
| 1 | Carbon Removal | Forest, wetland, and riparian understory protection and restoration |
| 2 | Carbon Removal | Eelgrass, surfgrass, and kelp protection and restoration |
| 3 | Buildings | Residential, commercial, and municipal energy efficiency and electrification upgrades in existing buildings |
| 4 | Buildings and Electric Power | Rooftop solar installations on key facilities |
| 5 | Buildings | Resilience hubs in existing buildings |
| 6 | Transportation | Tribal fleet electrification and charging |

For each CCAP measure, the Port Gamble S’Klallam Tribe estimated the following expected impacts resulting from implementation of the measure:

- GHG emissions reductions.

- Costs and cost savings for the government.

- Costs and cost savings for the community.

- Pollutant reductions (see the Co-Pollutant Estimation section below for these results).

The expected GHG emissions reductions and cost estimates were modeled based on available information and case studies, including data on historic and projected energy usage, forecasted population and job growth, and technology and policy impact. The GHG impact and cost modeling assumptions were drawn from literature, case studies, and the experience and expertise of Tribal and consultant staff. The cost estimates include initial start-up costs, ongoing costs, and staffing costs.

To improve the accuracy of expected emissions reductions and avoid double counting, the GHG reductions in Table 9, Table 10, Table 11, Table 12, Table 13, and Table 14 are in addition to the expected reductions from state and federal climate policies modeled, described above in the GHG Emissions Projections section. Figure 7 shows the combined impact of federal, state, and Tribal emissions reductions.

Figure 7. The combined impact of federal, state, and Tribal emissions reductions is expected to nearly neutralize the Port Gamble S'Klallam Tribe's emissions by 2050.

### Carbon Removal

Measure 1. Forest, wetland, and riparian understory protection and restoration

Continue to implement forest, wetland, and riparian understory protection and restoration projects on the Tribe’s trust lands to store carbon in natural systems, preserve traditional practices and ways of life, and protect critical migratory pathways to Hood Canal for salmonids. The Tribe will leverage Heronswood Garden to highlight the ongoing conservation and restoration projects and will collaborate for community outreach with the Education Department and Youth Center.

Protection and restoration of forests, wetlands, and other natural systems is a significant, ongoing focus of Tribal staff work within the Tribe’s traditional territory, both independently and with local partners. Tribal staff are deeply experienced in these topics, and the Tribe has a long history of successfully acquiring, protecting, and restoring land through its own action as well as local partnerships. As such, this measure is scalable and replicable on other lands within the Tribe’s traditional territories. Existing wetland and forest assessments and geospatial data have and will continue to aid these and other protection and restoration activities.

Since this measure will expand the Tribe’s current land-based protection and restoration activities, implementation is expected to require 1–2 additional FTE staff, which could be new staff or external contractors, along with seasonal work crews.

Table 9. Summary of Measure 1 implementation details, including emissions reduction and cost.

| Measure 1: Forest, wetland, and riparian understory protection and restoration |  |
| --- | --- |
| Implementing agency | Port Gamble S’Klallam Tribe Natural Resources Department, in coordination with Utilities Department |
| Implementation timeline | 2024–2030 |
| Implementation milestones | 2024–2025: Feasibility design and modeling 2025: Work season, begin storing carbon 2026–2030: Work seasons, store carbon |
| Implementation authority | Article 1-B of the Tribal Constitution extends jurisdiction over all property interests in the lands within the Reservation or acquired by the Tribe, including natural resources. The Tribe currently exercises protection and conservation of natural resources and environmental quality under Title 24 of the Tribal Code. |
| Metrics tracking | Acres restored Acres acquired and protected Carbon stored $/ MTCO2e |
| Funding sources (if relevant) | The Tribe has further funding to conduct climate planning and resilience under the WA Climate Commitment Act, through grants from the WA Departments of Commerce and Ecology. The Tribe has also received a grant specific to shallow groundwater and vegetation modeling on Reservation forests under the Bureau of Indian Affairs. |
| Geographic location | The Tribe’s trust lands |
| Net cost to government | $1,675,741 |
| Net cost to community | $0 |
| Total net cost | $1,675,741 |
| Estimated GHG emission reductions | 2025–2030: 7,146 MTCO2e 2031–2050: 40,836 MTCO2e |
| Estimated cost effectiveness | $35/MTCO2e |

Measure 2. Eelgrass, surfgrass, and kelp protection and restoration

Continue to protect and restore eelgrass, surfgrass, and kelp populations in Port Gamble Bay along Reservation shorelines to store carbon in natural systems, protect against coastal erosion, and support critical migratory pathways to Hood Canal for salmonids.

Like Measure 1, protection and restoration of coastal and nearshore areas is a significant, ongoing focus of Tribal staff work within the Tribe’s traditional territory especially in Port Gamble Bay, both independently and with local partners. Tribal staff are deeply experienced in these topics, and the Tribe has a long history of successful marine restoration activities. As such, this measure is scalable and replicable within the Tribe’s traditional territories, and other tribes and partners could replicate the Tribe’s approach in their own jurisdictions.

Since this measure will expand the Tribe’s current coastal and nearshore protection and restoration activities, implementation is expected to require an additional 0.25 FTE staff time from a Climate Change Coordinator, plus contractor costs. Current Tribal staff would conduct monitoring.

Table 10. Summary of Measure 2 implementation details, including emissions reduction and cost.

| Measure 2: Eelgrass, surfgrass, and kelp protection and restoration |  |
| --- | --- |
| Implementing agency | Port Gamble S’Klallam Tribe Natural Resources Department |
| Implementation timeline | 2025–2030 |
| Implementation milestones | 2025-2026: Site assessment 2026: Implementation work season, begin storing carbon 2027–2030: Implementation work seasons, store carbon |
| Implementation authority | Beaches adjacent to residential lots are retained by the Tribe per Tribal Code 10.01.04c. |
| Metrics tracking | Acres restored Acres acquired and protected Carbon stored $/MTCO2e |
| Funding sources (if relevant) | The Tribe has further funding to conduct climate planning and resilience under the WA Climate Commitment Act, through grants from the WA Departments of Commerce and Ecology. |
| Geographic location | Reservation shorelines and nearshore areas |
| Net cost to government | $2,031,787 |
| Net cost to community | $0 |
| Total net cost | $2,031,787 |
| Estimated GHG emission reductions | 2025–2030: 169 MTCO2e 2031–2050: 964 MTCO2e |
| Estimated cost effectiveness | $1,794/MTCO2e |

### Buildings

Measure 3. Residential, commercial, and municipal energy efficiency and electrification upgrades in existing buildings

Implement a program for energy efficiency, weatherization, and electrification retrofits and upgrades for existing homes, commercial buildings, and Tribal facilities. Ensure commercial and municipal buildings are retrofitted to current green building standards and to the highest disaster-resistant standards whenever feasible.

Build on the success of the Elders Generator Program, which ensures reliable operation of generators during inclement weather. As part of these upgrades, work with the WA Department of Ecology to reduce use of HFCs for refrigeration and air conditioning in commercial buildings, especially small and medium sized grocery stores. All of the approximately 40 commercial and government buildings on the Reservation are included in this measure, including all critical facilities that are buildings.

Commercial and government buildings include:

- The Youth Center, where many retreats and information sessions are held.

- The Main Administration Campus area, whose buildings are connected to propane for either heating systems or kitchen stoves. This campus includes the cedar sweat lodge, Wellness building, and Cultural building.

- The Health and Dental Clinic, which will serve as a resilience hub during disasters through implementation of Measure 5.

- Critical facilities: Tribal Administration Building including cafeteria, Gliding Eagle Store Gas Station, Police Department, Tribal Casino, Propane Tank Farm, Tribal Wastewater Treatment Facility. Once the new Tribal Administration building is built and operational, it will also serve as a resilience hub during a disaster through implementation of Measure 5.

This measure will also ensure that retrofits of buildings built between 2004 and 2007 (Longhouse, Education Center, Library, and Senior Center) maintain their cohesive architectural and functional "House of Knowledge" features (wood frame with concrete slab).

Tribal staff will be able to leverage their experience from prior construction efforts and the current ETIPP/Solar+Storage grant to support implementation of this measure. Additionally, implementation is expected to require 0.25 FTE of the current Energy Program Manager’s time and 0.70 FTE of a new Energy Outreach Associate’s time, given the significant scaling up of building efficiency and electrification activities over time.

Table 11. Summary of Measure 3 implementation details, including emissions reduction and cost.

| Measure 3: Residential, commercial, and municipal energy efficiency and electrification upgrades in existing buildings |  |
| --- | --- |
| Implementing agency | Port Gamble S’Klallam Tribe Facilities Department, with support from Planning Department |
| Implementation timeline | 2024–2030 |
| Implementation milestones | 2024: Administration building assessment 2025: Hiring and initiation of residential and commercial outreach, admin implementation 2026–2030: Residential and commercial implementation |
| Implementation authority | - Tribal Council retains authority over the sale and purchase of Tribal assets (Tribal Constitution Article 4). Tribal Administration is delegated with the responsibility to manage assets owned by the Tribal Government to provide services to the community. - Noo-Kayet Investments (NKI), the Tribe’s commercial entity, operates the casino, hotel, grow facility, and gas station. NKI will be responsible for conducting energy efficiency programs under its own authority unless further prompted by Tribal Council. June 2025 is a key milestone to reach understanding with NKI. - Except in limited instances of Tribally owned housing, improvements on Tribally assigned lots are considered the personal property of residents under Tribal Code 10.01.07, and these residents will be responsible for efficiency improvements with support from any incentives devised by the Tribe. |
| Metrics tracking | kW electricity conserved $ saved on energy bills, overall and by income level $ saved on energy bills, overall and per occupancy Average MTCO2e avoided |
| Funding sources (if relevant) | Administration building energy audits were completed in 2024 with support of the US DOE ETIPP program. |
| Geographic location | Tribal trust lands |
| Net cost to government | $600,621 |
| Net cost to community | $275,377 |
| Total net cost | $875,999 |
| Estimated GHG emission reductions | 2025–2030: 262 MTCO2e 2031–2050: 3,169 MTCO2e |
| Estimated cost effectiveness | $255/MTCO2e |

Measure 4. Rooftop solar installations on key facilities

Install rooftop solar on key Tribal and community facilities, including the Early Learning Center, the Tribal wastewater treatment facility, the Point Casino and Hotel parking lot, and the Tribal Housing Authority developments.

Establish a training program to install, maintain, and troubleshoot solar installations on the Tribe’s lands, which will support the career growth and long-term economic wellbeing of Tribal members. Include transportation, childcare, and other supportive services to diversify the pool of qualified technicians by increasing access for more people. Partner with Tribal and local employers, labor unions, and similar organizations that will hire and retain staff from the training program.

Tribal staff will be able to leverage their experience installing solar panels on the Health and Dental Clinic and the current ETIPP/Solar+ grant to support implementation of this measure. If desired, experience implementing this measure could be used to expand solar installations to residential households. Overall, 0.3 FTE of the Energy Program Manager’s time is anticipated during the installation phase, with an additional 0.1 FTE of their time to coordinate with an external partner to provide training. A solar maintenance technician will also be needed to maintain the new systems at an estimated 0.1 FTE.

Table 12. Summary of Measure 4 implementation details, including emissions reduction and cost.

| Measure 4: Rooftop solar installations on key facilities |  |
| --- | --- |
| Implementing agency | Port Gamble S’Klallam Tribe Utilities Department, with support from Planning and Maintenance |
| Implementation timeline | 2025-2050 |
| Implementation milestones | 2025-2028: Installation of solar, some emissions reduction 2028-2050: All solar installed |
| Implementation authority | - Tribal Council retains authority over the sale and purchase of Tribal assets (Tribal Constitution Article 4). Tribal Administration is delegated with the responsibility to manage assets owned by the Tribal Government to provide services to the community. - New construction with an anticipated high impact is subject to Title 24: Environmental Protection of the Port Gamble S’Klallam Tribe (PGST) Law and Order Code. Electrical work connected to Puget Sound Energy is subject to permitting from the Washington State Department of Labor and Industries. - Noo Kayet Investments and the Tribal Housing Authority each have respective boards with lower level of authority. - NKI's board overlaps with Tribal council and Tribal government leadership. NKI would approve the solar installation at the Point Hotel and Casino parking lot. 2028 is a key milestone for receiving NKI’s approval. - The Housing Authority complies with Title II of the Native American Housing and Self-Determination Act (NAHASDA) and the Final Rule (24 CFR 1000) implementing NAHASDA along with any other Federal, State, or Tribal laws or regulations applicable to any other PGSHA housing assistance programs including the State of Washington’s Housing Trust Fund and Low-Income Housing Tax Credit programs. Their Board of Commissioners is a decisionmaker for whether a solar project can proceed and would approve the projects for the Housing Authority developments. 2028 is a key milestone for receiving the Board’s approval. |
| Metrics tracking | kWh alternating current (AC) produced Battery cycles |
| Funding sources (if relevant) | Solar grants and other funding may come from a variety of sources including WA Department of Commerce grants (for example, Tribal Clean Energy Grant), federal Solar for All, Puget Sound Energy, Washington State University Community Solar, the Tribal Alliance for Clean Energy, private sector capital/loans, or philanthropic dollars. |
| Geographic location | Tribal trust lands |
| Net cost to government | ($2,240,774) (this is a cost savings) |
| Net cost to community | $0 |
| Total net cost | ($2,240,774) (this is a cost savings) |
| Estimated GHG emission reductions | 2025–2030: 379 MTCO2e 2031–2050: 0 MTCO2e |
| Estimated cost effectiveness | ($5,905)/MTCO2e (this is a cost savings) |

Measure 5. Resilience hubs in existing buildings

Upgrade the Health and Dental Clinic and the new Tribal Administration Building to serve as resilience hubs during a disaster. Enable the Port Gamble S’Klallam Tribe to be self-sufficient for at least 7 days after a disaster. This measure includes installing a solar and back-up storage system on the Health and Dental Clinic to provide energy for at least seven days. The new Tribal Administration Building will include a solar and battery back-up system, electrification of existing appliances and equipment (specifically HVAC), efficient lighting, and a kitchen to provide energy and services for at least seven days.

Tribal staff will be able to leverage their experience implementing Measure 3, Measure 4, and other building construction projects to support implementation of this measure. Current staffing is expected to be sufficient to implement this measure, with staff shifting 0.1 FTE from other tasks to support implementation.

Table 13. Summary of Measure 5 implementation details, including emissions reduction and cost.

| Measure 5: Resilience hubs in existing buildings |  |
| --- | --- |
| Implementing agency | Port Gamble S’Klallam Tribe Planning Department, with support from Maintenance, Planning, Admin, and Natural Resources |
| Implementation timeline | 2025-2050 |
| Implementation milestones | 2025: Health and Dental Clinic adds solar and storage 2030: Construction of new Tribal Administration building begins 2032: New Tribal Administration building opens 2033-2050: Both buildings operational and reducing emissions |
| Implementation authority | - Tribal Council retains authority over the sale and purchase of Tribal assets (Tribal Constitution Article 4). Tribal Administration is delegated the responsibility to manage assets owned by the Tribal Government to provide services to the community. - New construction with an anticipated high impact is subject to Title 24: Environmental Protection of the PGST Law and Order Code. - Electrical work connected to Puget Sound Energy is subject to permitting from the Washington State Department of Labor and Industries. |
| Metrics tracking | # outages Duration of outages |
| Funding sources (if relevant) | WA Department of Commerce. Other funding sources for the Tribal Administration building may include a mix of financial sources similar to Measure 4. |
| Geographic location | Tribal trust lands |
| Net cost to government | ($1,252,190) (this is a cost savings) |
| Net cost to community | $0 |
| Total net cost | ($1,252,190) (this is a cost savings) |
| Estimated GHG emission reductions | 2025–2030: 106 MTCO2e 2031–2050: 0 MTCO2e |
| Estimated cost effectiveness | ($11,788)/MTCO2e (this is a cost savings) |

### Transportation

Measure 6. Tribal fleet electrification and charging

Replace older and under-used combustion engine vehicles with electric alternatives, achieving a 25% fleet transition by 2035 and full transition of passenger cars and light-duty trucks by 2050. To support the transition, this measure also includes installation of 2–4 level 2 electric vehicle chargers at five key facilities. Potential locations include the fish hatchery, Point Julia shelter, the Old Red Cedar neighborhood, Warrior Ridge, Transitional Housing, the administration campus gathering shelter, Ball Park, Wellness Center, or schools (elementary, middle, and high).

The Tribe has completed partially evaluated electrification infrastructure but has not thoroughly assessed the fleet for transition. Following a feasibility assessment and electric vehicle plan, this measure is planned to scale up over time, resulting in electrifying a significant portion of the fleet. Managing this process is expected to require 0.1 FTE of a Climate Change Coordinator’s time.

Table 14. Summary of Measure 6 implementation details, including emissions reduction and cost.

| Measure 6: Tribal fleet electrification and charging |  |
| --- | --- |
| Implementing agency | Port Gamble S’Klallam Tribe Natural Resources Department, as well as Law Enforcement, Utilities, Education |
| Implementation timeline | 2025–2050 |
| Implementation milestones | Year 1–2 (2025-2026): Feasibility assessment, fleet assessment, and electric vehicle plan Year 3 (2027): Installation of chargers, initial vehicles purchased Year 4 (2028): Vehicle purchases Year 5 (2029): Vehicle purchases Year 6 (2030): Vehicle purchases Year 11 (2035): 25% of fleet transitioned 2050: Fleet transition completed |
| Implementation authority | Tribal Council retains authority over the sale and purchase of Tribal assets (Tribal Constitution Article 4). Tribal Administration is delegated with the responsibility to manage assets owned by the Tribal Government to provide services to the community. |
| Metrics tracking | Vehicles purchased Chargers installed MTCO2e avoided Fuel savings |
| Funding sources (if relevant) | Further assessment of charging infrastructure is being supported through the DOE ETIPP program. Other funding sources include Puget Sound Energy Enhanced Advisory Service (Technical Assistance), Puget Sound Energy Up and Go Electric Program, Washington State University Tribal Green Transportation Project (Technical Assistance), WA Department of Transportation, WA Department of Commerce, and WA Department of Ecology. |
| Geographic location | The Tribe’s Reservation and surrounding areas (potentially including UandA and traditional territories), as needed for Tribal staff to complete their work |
| Net cost to government | $9,335 |
| Net cost to community | $0 |
| Total net cost | $9,335 |
| Estimated GHG emission reductions | 2025–2030: 21 MTCO2e 2031–2050: 2,013 MTCO2e |
| Estimated cost effectiveness | $5/MTCO2e |

## Benefits Analysis

This section explores each of the measures discussed in the previous section and expands on the additional benefits of the measures. The implementation of the measures included in the Port Gamble S’Klallam Tribe’s CCAP will have a broad range of benefits beyond GHG emission reductions, including reductions of criteria and hazardous air pollutants (co-pollutants) and increases in economic and ecosystem benefits.

### Co-Pollutant Estimation

The co-pollutant impacts were estimated using the EPA’s guidance document (CPRG Program: Technical Reference Document: Benefits Analyses: Co-Pollutant Impacts). The Port Gamble S’Klallam Tribe estimated 2022 baseline co-pollutants and expected reductions in co-pollutants from implementation of CCAP measures. The baseline co-pollutant estimates from both stationary and mobile combustion for both the community and Tribal government operations are summarized below in Table 15 through Table 18. Expected reductions from CCAP measures are summarized below in Table 19 and Table 20 (for co-pollutants) and Table 21 (for hazardous air pollutants).

Table 15. Baseline co-pollutants from stationary combustion – community (2022).

| Sector | Fuel Type | CO | NOx | SOx | VOC | PM2.5 | PM10 | Units |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Commercial/Institutional | Distillate fuel oil | 0.04 | 0.13 | <0.01 | 0.01 | 0.02 | 0.02 | MT |
| Residential | Distillate fuel oil | 0.01 | 0.02 | <0.01 | <0.01 | <0.01 | <0.01 | MT |
| Commercial/Institutional | LPG (propane) | 0.07 | 0.12 | <0.01 | <0.01 | <0.01 | <0.01 | MT |
| Residential | LPG (propane) | 0.03 | 0.12 | <0.01 | <0.01 | <0.01 | <0.01 | MT |
| Total |  | 0.14 | 0.38 | <0.01 | 0.01 | 0.02 | 0.02 | MT |

Table 16. Baseline co-pollutants from stationary combustion – government operations (2022).

| Sector | Fuel Type | CO | NOx | SOx | VOC | PM2.5 | PM10 | Units |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Government | LPG (propane) | 0.10 | 0.17 | <0.01 | 0.01 | <0.01 | <0.01 | MT |
|  | Total | 0.10 | 0.17 | <0.01 | 0.01 | <0.01 | <0.01 | MT |

Table 17. Baseline co-pollutants from mobile combustion – community (2022).

| Vehicle Class | Fuel Type | CO | NOx | SOx | VOC | PM2.5 | PM10 | Units |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Heavy-Duty | Gasoline | 0.02 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | MT |
| Light Truck | Gasoline | 0.71 | 0.02 | <0.01 | 0.03 | <0.01 | 0.01 | MT |
| Passenger Car | Gasoline | 18.62 | 0.36 | 0.01 | 0.79 | 0.02 | 0.13 | MT |
| Heavy-Duty | Diesel | 0.13 | 0.26 | <0.01 | 0.01 | <0.01 | 0.01 | MT |
| Light Truck | Diesel | 0.01 | 0.01 | <0.01 | <0.01 | <0.01 | <0.01 | MT |
| Passenger Car | Diesel | 0.11 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | MT |
| Total |  | 19.60 | 0.65 | 0.01 | 0.84 | 0.03 | 0.15 | MT |

Table 18. Baseline co-pollutants from mobile combustion – government operations (2022). 7

| Vehicle Class | Fuel Type | CO | NOx | SOx | VOC | PM2.5 | PM10 | Units |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Light Truck | Gasoline | 1.80 | 0.05 | <0.01 | 0.07 | <0.01 | 0.01 | MT |
| Passenger Car | Gasoline | 0.21 | <0.01 | <0.01 | 0.01 | <0.01 | <0.01 | MT |
| Light Truck | Diesel | 0.02 | 0.03 | <0.01 | <0.01 | <0.01 | <0.01 | MT |
| Passenger Car | Diesel | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | MT |
| Total |  | 2.03 | 0.085 | <0.01 | 0.08 | <0.01 | 0.01 | MT |

Table 19. Anticipated co-pollutant reductions occurring within the Tribe’s area for each measure (through 2050, beginning in each measure’s implementation start year).

|  |  | Estimated Co-pollutant Reductions (MT) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| # | Measure | CO | NOx | SOx | NH3 | VOC | PM2.5 | PM10 |
| 1 | Forest, wetland, and riparian understory protection and restoration | N/A | N/A | N/A | N/A | N/A | N/A | N/A |
| 2 | Eelgrass, surfgrass, and kelp protection and restoration | N/A | N/A | N/A | N/A | N/A | N/A | N/A |
| 3 | Residential, commercial, and municipal energy efficiency and electrification upgrades in existing buildings | 1.22 | 3.31 | 0.02 | 0.17 | 0.13 | 0.16 | 0.17 |
| 4 | Rooftop solar installations on key facilities | - | 17.85 | 9.21 | 0.38 | 0.58 | 1.73 | - |
| 5 | Resilience hubs in existing buildings | - | 2.57 | 1.32 | 0.06 | 0.08 | 0.25 | - |
| 6 | Tribal fleet electrification and charging | 23.92 | 0.84 | 0.02 | - | 0.99 | 0.02 | 0.02 |
|  | Total | 25.14 | 24.57 | 10.58 | 0.61 | 1.78 | 2.15 | 0.19 |

Table 20. Anticipated co-pollutant reductions occurring outside of the Tribe’s area for each measure (through 2050, beginning in each measure's implementation year). These reductions occur at the source of energy production due to the reduced energy consumption from improved energy efficiency in Measure 3 and Measure 5.

|  |  | Estimated Co-pollutant Reductions (MT) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| # | Measure | CO | NOx | SOx | NH3 | VOC | PM2.5 | PM10 |
| 1 | Forest, wetland, and riparian understory protection and restoration | N/A | N/A | N/A | N/A | N/A | N/A | N/A |
| 2 | Eelgrass, surfgrass, and kelp protection and restoration | N/A | N/A | N/A | N/A | N/A | N/A | N/A |
| 3 | Residential, commercial, and municipal energy efficiency and electrification upgrades in existing buildings | - | 7.04 | 3.94 | 0.14 | 0.21 | 0.63 | - |
| 4 | Rooftop solar installations on key facilities | N/A | N/A | N/A | N/A | N/A | N/A | N/A |
| 5 | Resilience hubs in existing buildings | - | 2.22 | 1.24 | 0.04 | 0.07 | 0.20 | - |
| 6 | Tribal fleet electrification and charging | N/A | N/A | N/A | N/A | N/A | N/A | N/A |
|  | Total | - | 9.26 | 5.19 | 0.19 | 0.28 | 0.83 | - |

Table 21. Anticipated hazardous air pollutant (HAP) reductions for each measure (through 2050, beginning in each measure's implementation year). HAP are found in fuel oil, which is reduced in Measure 3.

|  |  | Estimated HAP Reductions (Pounds)* |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| # | Measure | As | Be | Cd | Cr VI | Cr III | Mn | Hg | Ni | Se |
| 1 | Forest, wetland, and riparian understory protection and restoration | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |
| 2 | Eelgrass, surfgrass, and kelp protection and restoration | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |
| 3 | Residential, commercial, and municipal energy efficiency and electrification upgrades in existing buildings | 0.087 | 0.065 | 0.065 | 0.012 | 0.054 | 0.13 | 0.065 | 0.065 | 0.33 |
| 4 | Rooftop solar installations on key facilities | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |
| 5 | Resilience hubs in existing buildings | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |
| 6 | Tribal fleet electrification and charging | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |
|  | Total | 0.087 | 0.065 | 0.065 | 0.012 | 0.054 | 0.13 | 0.065 | 0.065 | 0.33 |

*As: Arsenic; Be: Beryllium; Cd: Cadmium; Cr: Chromium; Mn: Manganese; Hg: Mercury; Ni: Nickel; Se: Selenium

### Other Benefits

Table 22 below summarizes the other economic, community, and environmental benefits of CCAP measure implementation. The Tribe also plans to hire a full-time Climate Change Coordinator to help lead implementation in coordination with existing staff, as well as other support staff.

Table 22. Summary of other economic, community, and environmental benefits of CCAP measure implementation.

| # | Measure | Other Benefits |
| --- | --- | --- |
| 1 | Forest, wetland, and riparian understory protection and restoration | - Preservation and support of natural systems and species, community beautification, public health benefits from increased tree cover and ecosystem health, enhanced resilience from natural disasters, and cultural preservation - Support for carbon sinks, natural resource protection, linkage to carbon markets - Support for jobs in natural resource fields |
| 2 | Eelgrass, surfgrass, and kelp protection and restoration | - Preservation and support of natural systems and species, public health benefits from traditional gathering and support of first foods using these habitats, potential for enhanced resilience from natural disasters, and cultural preservation - Support for carbon sinks, natural resource protection, linkage to carbon markets - Support for jobs in natural resource fields |
| 3 | Residential, commercial, and municipal energy efficiency and electrification upgrades in existing buildings | - Improved indoor air quality when replacing fossil-fuel powered appliances, reduced energy costs, better building quality, comfort and protection from climate impacts like extreme heat and smoke, support for potential future resilience hub - Support for goal of energy independence and resilience - Support for jobs in engineering, design, construction, and maintenance |
| 4 | Rooftop solar installations on key facilities | - Reduced energy costs - Support for goal of energy independence and resilience through reduced reliance on fossil fuels and battery storage - Support for jobs in engineering, design, construction, and maintenance |
| 5 | Resilience hubs in existing buildings | - Improved indoor air quality when replacing fossil-fuel powered appliances, reduced energy costs, better building quality, comfort and protection from climate impacts like extreme heat and smoke, establishment of two resilience hubs - Support for goal of energy independence and resilience through reduced reliance on fossil fuels and battery storage - Support for jobs in engineering, design, construction, maintenance, and emergency management |
| 6 | Tribal fleet electrification and charging | - Public health benefits from reductions in fossil-fuel powered vehicles, reduced noise pollution, decreased energy costs, potential decreased lifetime maintenance costs, increased access to amenities (such as electric vehicle charging) - Support for goal of energy independence and resilience through reduced reliance on fossil fuels - Support for jobs in electric vehicle vehicle and charger installation and maintenance |

## Review of Authority to Implement

Many entities in the region work together to carry out projects in local communities. Implementation of the CCAP will necessitate broad collaboration across Port Gamble S’Klallam Tribe departments, leadership, and Tribal Council. For some measures, the identified authority may be required to get permission from the building or system owner through a formal document. Table 23 below captures current authority to implement proposed measures based on ownership or historical project development and implementation and based on lines of formal or informal responsibility of the entities in the region. Broadly, this CCAP identified the entity in the region or in the community that has the authority to carry out a proposed measure such as Tribal Council, Tribal staff within a specific department, the Tribe’s commercial entity Noo-Kayet Investments (NKI), and residents with homes on Tribally assigned lots. Table 23 describes the implementation authority for each measure, as well as key milestones to obtain authority.

Table 23. Implementation authority and key milestones for each measure.

| # | Measure | Authority to Implement | Milestones to Obtain Authority |
| --- | --- | --- | --- |
| 1 | Forest, wetland, and riparian understory protection and restoration | Article 1-B of the Tribal Constitution extends jurisdiction over all property interests in the lands within the Reservation or acquired by the Tribe, including natural resources. The Tribe currently exercises protection and conservation of natural resources and environmental quality under Title 24 of the Tribal Code. | N/A |
| 2 | Eelgrass, surfgrass, and kelp protection and restoration | Control over beaches adjacent to residential lots are retained by the Tribe per Tribal Code 10.01.04c. | N/A |
| 3 | Residential, commercial, and municipal energy efficiency and electrification upgrades in existing buildings | Tribal Council retains authority over the sale and purchase of Tribal assets (Tribal Constitution Article 4). Tribal Administration is delegated the responsibility to manage assets owned by the Tribal Government to provide services to the community. NKI, the Tribe’s commercial entity, operates the casino, hotel, grow facility, and gas station. NKI will be responsible for conducting energy efficiency programs under its own authority unless further prompted by Tribal Council. Except in limited instances of Tribally owned housing, improvements on Tribally assigned lots are considered the personal property of residents under Tribal Code 10.01.07, and these residents will be responsible for efficiency improvements under their own authority, with support from any incentives devised by the Tribe. | June 2025 deadline to reach understanding with NKI |
| 4 | Rooftop solar installations on key facilities | Tribal Council retains authority over the sale and purchase of Tribal assets (Tribal Constitution Article 4). Tribal Administration is delegated the responsibility to manage assets owned by the Tribal Government to provide services to the community. New construction with an anticipated high impact is subject to Title 24: Environmental Protection of the PGST Law and Order Code. Electrical work connected to Puget Sound Energy is subject to permitting from the Washington State Department of Labor and Industries. NKI and the Tribal Housing Authority each have respective boards with a lower level of authority: - NKI's board overlaps with Tribal Council and Tribal government leadership. NKI would approve the solar installation at the Point Hotel and Casino parking lot. - The Housing Authority complies with Title II of the Native American Housing and Self-Determination Act (NAHASDA) and the Final Rule (24 CFR 1000) implementing NAHASDA along with any other Federal, state, or Tribal laws or regulations applicable to any other PGSHA housing assistance programs including the State of Washington’s Housing Trust Fund and Low-Income Housing Tax Credit programs. The Housing Authority’s Board of Commissioners is a decisionmaker for whether a solar project can proceed and would need to approve the projects for the Housing Authority developments. | Prior to 2028 for both NKI and the Housing Authority Board of Commissioners |
| 5 | Resilience hubs in existing buildings | Tribal Council retains authority over the sale and purchase of Tribal assets (Tribal Constitution Article 4). Tribal Administration is delegated the responsibility to manage assets owned by the Tribal Government to provide services to the community. New construction with an anticipated high impact is subject to Title 24: Environmental Protection of the PGST Law and Order Code. Electrical work connected to Puget Sound Energy is subject to permitting from the Washington State Department of Labor and Industries. | N/A |
| 6 | Tribal fleet electrification and charging | Tribal Council retains authority over the sale and purchase of Tribal assets (Tribal Constitution Article 4). Tribal Administration is delegated the responsibility to manage assets owned by the Tribal Government to provide services to the community. | N/A |

## Identification of Other Funding Mechanisms

Table 24 below describes secured funding and total funding needed for the Port Gamble S’Klallam Tribe’s implementation of the CCAP measures. Total funding needed represents the full cost to implement in present value; some of those funds are already secured. To implement these measures, the Tribe plans to leverage already-secured funding and to apply for additional funding to fully implement measures. Existing funding sources support most of the feasibility assessments and design work for CCAP measures, including staff capacity and external technical support. Existing funding will also support partial implementation of Measure 1, Measure 2, Measure 4, and Measure 5. The Tribe has sufficient existing staff capacity to implement Measure 1, Measure 2, and Measure 5. Additional grant funding may be needed to provide staff capacity to fully implement Measure 3, Measure 4, and Measure 6.

Table 24. Summary of funding to implement CCAP measures.

| # | Measure | Secured Funding or Support | Total Funding Needed (Present Value) |
| --- | --- | --- | --- |
| 1 2 | Forest, wetland, and riparian understory protection and restoration Eelgrass, surfgrass, and kelp protection and restoration | ~$722,000 (Tribal Climate Resilience Program, Department of Commerce and Tribal Consultation Grant AQTCCA-2325-PoGaIT-00030, Department of Ecology via the Climate Commitment Act) $250,000 to support modeling and design of Measure 1 (Climate Resilience Awards, U.S. Bureau of Indian Affairs) | $2,813,515 to implement Measure 1 and Measure 2 |
| 3 | Residential, commercial, and municipal energy efficiency and electrification upgrades in existing buildings | Technical support for feasibility assessments and design (US DOE ETIPP program) | $472,0890 |
| 4 | Rooftop solar installations on key facilities | Technical support for feasibility assessments and design (US DOE ETIPP program) | $3,678,366 |
| 5 | Resilience hubs in existing buildings | Technical support for feasibility assessments and design (WA Department of Commerce) $398,205 Tribal Clean Energy Grant (WA Department of Commerce) | $1,476,167 |
| 6 | Tribal fleet electrification and charging | Technical support for feasibility assessments and design (US DOE ETIPP program) | $341,138 |

Measure 1. Forest, wetland, and riparian understory protection and restoration

This measure will use existing grant funds from Washington state, BIA, and other sources to restore and protect existing forest, wetland, and understory riparian habitats and to recharge shallow aquifers (to provide moisture to trees during dry months, helping protect the carbon storage investment) in the northeast portion of the Reservation. Funding to expand on these protection and restoration efforts will also be secured.

Measure 2. Eelgrass, surfgrass, and kelp protection and restoration

This measure will leverage Washington state grants and other grant funds to expand eelgrass, surfgrass, and kelp protection and restoration on lands and waters under the Tribe’s control. Protection and restoration of these habitats currently is limited on the Tribe’s lands and waters.

Measure 3. Residential, commercial, and municipal energy efficiency and electrification upgrades in existing buildings

The current ETIPP/Solar+ grant funded assessments to identify energy efficiency and electrification upgrades. This measure will leverage the ETIPP/Solar+ assessments and other funding to implement the upgrades and make other energy efficiency and electrification improvements in Tribal, commercial, and residential buildings.

Measure 4. Rooftop solar installations on key facilities

Solar grants and funding may come from a variety of sources including WA Department of Commerce grants (for example, the Tribal Clean Energy Grant), the federal Solar for All program, Puget Sound Energy, Washington State University’s Community Solar program, the Tribal Alliance for Clean Energy, private sector capital and loans, or philanthropic dollars.

Measure 5. Resilience hubs in existing buildings

Grants and other funding to support the resilience hubs may come from a variety of sources including WA Department of Commerce grants (for example, Tribal Clean Energy Grant), the federal Solar for All program, the U.S. Internal Revenue Service Elective Pay Provision, NOAA’s Climate-Smart Communities Initiative, FEMA’s Pre-Disaster Mitigation Program, Puget Sound Energy, the Washington State University Community Solar program, the Tribal Alliance for Clean Energy, private sector capital and loans, or philanthropic dollars.

Measure 6. Tribal fleet electrification and charging

The current ETIPP/Solar+ grant funded assessments to understand fleet electrification needs. This measure will leverage the ETIPP/Solar+ assessments and seek additional funding to modernize the Tribal fleet.

## Workforce Planning Analysis

### Overview

A workforce planning analysis assesses anticipated job losses and gains that could prevent the completion of CCAP measures, and it identifies solutions to address anticipated workforce shortages and support high-quality jobs for the Tribal community.

The Tribe assessed current and projected employment by industry in the region, identified specific occupations needed to implement CCAP measures, and summarized the associated education, training, knowledge, skills, and abilities for each occupation. The Tribe also identified key partnerships, programs, and funding opportunities that will support the employment of Tribal members in high-quality green jobs.

Figure 8 shows the distribution of jobs across 20 industries in 2022 for Tribal members and other residents living in the Port Gamble geography. Job in public administration (26.4%) and retail trade (13.6%) were most common. Public administration includes Tribal, federal, state, and local government jobs.

Figure 8. Residents within the Port Gamble Census Designated Place worked in 20 industries in 2022. Source: U.S. Census, OnTheMap Tool.

Industry projections are not available for the Tribe’s specific geography. However, projections for these 20 industries are available on a regional level, combining Clallam, Jefferson, and Kitsap counties. The two figures below show the governmental (Figure 9) and non-governmental (Figure 10) industries that are most needed for CCAP measure implementation. Across the three-county geography, all of these key industries are either stable or growing from 2022 to 2032.

The Tribe anticipates hiring up to three FTE to support CCAP implementation, and the public administration industry is growing sufficiently to accommodate the need.

Figure 9. Across Kitsap, Clallam, and Jefferson counties, employment is expected to grow in the public administration industry. Source: WA Employment Security Department, Aggregated Industry Projections, Olympic WDA, 2022-2032.

The Tribe will also need skilled contractors in the following sectors: construction; manufacturing; utilities; transportation and warehousing; management of companies and enterprises; and professional, scientific, and technical services (Figure 10). Given the small scale of the Tribe’s measures in relation to the regional employment base in these sectors, it is likely the three-county region will have enough qualified workers to support CCAP implementation. However, prioritizing Tribal members to perform the additional work needed for CCAP implementation will likely require focused workforce development activities: the Tribal employment base is much smaller, with fewer workers available to train or re-train.

Figure 10. Across Kitsap, Clallam, and Jefferson counties, employment is expected to grow in the non-governmental industries needed for CCAP implementation. Source: WA Employment Security Department, Aggregated Industry Projections, Olympic WDA, 2022-2032.

Separately, the Clean Energy Transition Institute conducted an economy-wide analysis to examine job creation and displacement if the Northwest were to pursue net-zero emissions. The results for Washington state reinforce the projected growth in the construction, manufacturing, and professional services industries that are expected in Kitsap, Clallam, and Jefferson counties (Net-Zero Northwest, 2023).

The following sections provide more detail on workforce planning for each measure, including the specific occupation codes, needed education and training, and selected knowledge, skills, and abilities that will be needed for implementation.

### Carbon Removal

Measure 1. Forest, wetland, and riparian understory protection and restoration

Outside of the public administration sector, the current and projected regional workforce appears to have few to no private-sector jobs available in habitat protection and restoration. However, Tribal staff are deeply experienced in these topics, and the Tribal community prioritizes knowledge sharing and training for youth in habitat preservation and restoration. Habitat conservation and associated environmental work is also one of the fastest growing sectors nationally (U.S. Bureau of Labor Statistics, 2025).

Implementation of this measure will require involvement from the following occupations, which are listed along with the education, training, and knowledge, skills and abilities (KSA) needed to perform the work (Table 25).

Table 25. Summary of occupations, education, training, and KSA to implement Measure 1 and Measure 2.

| Occupation | Education and Training | Selected Knowledge, Skills, and Abilities (KSA) |
| --- | --- | --- |
| Environmental Restoration Planner 19-2041.02 | - Master’s degree often required - Ph.D., M.D., or J.D. (law degree) may be required - Limited additional training, but some on-the-job training | - Provide technical direction on environmental planning to energy engineers, biologists, geologists, or other professionals working to develop restoration plans or strategies. - Create habitat management or restoration plans, such as native tree restoration and weed control. - Conduct site assessments to certify a habitat or to ascertain environmental damage or restoration needs. |
| Environmental Scientists and Specialists, including Health 19-2041 | - Most of these occupations require a four-year bachelor's degree, but some do not - Several years of work-related experience, on-the-job training, and/or vocational training needed | - Record test data and prepare reports, summaries, or charts that interpret test results. - Provide information or technical or program assistance to government representatives, employers, or the general public on the issues of public health, environmental protection, or workplace safety. |
| Forest and Conservation Technician 19-4071.00 | - Vocational school, on-the-job training, or associate’s degree - 1–2 years of on-the-job training (formal and informal) - May have an apprenticeship program | - Perform reforestation or forest renewal, including nursery and silviculture operations, site preparation, seeding and tree planting programs, cone collection, and tree improvement. - Manage forest protection activities, including fire control, fire crew training, and coordination of fire detection and public education programs. - Train and lead forest and conservation workers in seasonal activities, such as planting tree seedlings, putting out forest fires, and maintaining recreational facilities. - Monitor environmental conditions such as temperature or humidity. |
| Biological Scientists, All Other / Biologist 19-1029 / 19-1029.04 | - Master’s degree often required - Ph.D., M.D., or J.D. (law degree) may be required - Limited additional training, but some on-the-job training | - Prepare technical and research reports (such as environmental impact reports) and communicate the results to individuals in industry, government, or the general public. - Develop and maintain liaisons and effective working relations with groups and individuals, agencies, and the public to encourage cooperative management strategies or to develop information and interpret findings. - Collect and analyze biological data about relationships among and between organisms and their environment. - Plan and administer biological research programs for government, research firms, medical industries, or manufacturing firms. - Study aquatic plants and animals and environmental conditions affecting them, such as radioactivity or pollution. |
| Climate Change Policy Analyst 19-2041.01 | - Master’s degree often required - Ph.D., M.D., or J.D. (law degree) may be required - Limited additional training, but some on-the-job training | - Prepare study reports, memoranda, briefs, testimonies, or other written materials to inform government or environmental groups on environmental issues, such as climate change. - Prepare grant applications to obtain funding for programs related to climate change, environmental management, or sustainability. - Provide analytical support for policy briefs related to renewable energy, energy efficiency, or climate change. - Propose new or modified policies involving factors relating to climate and climate change. |
| Conservation Scientist 19-1031.00 | - Most of these occupations require a four-year bachelor's degree, but some do not. - Several years of work-related experience, on-the-job training, and/or vocational training needed | - Apply principles of specialized fields of science—such as agronomy, soil science, forestry, or agriculture—to achieve conservation objectives. - Plan soil management or conservation practices—such as crop rotation, reforestation, permanent vegetation, contour plowing, or terracing—to maintain soil or conserve water. - Participate on work teams to plan, develop, or implement programs or policies for improving environmental habitats, wetlands, or groundwater or soil resources. - Provide information, knowledge, expertise, or training to government agencies at all levels to solve water or soil management problems or to assure coordination of resource protection activities. |

Table 26 lists partnerships, programs, and funding opportunities that can support Tribal employment in forest, wetland, and riparian understory protection and restoration.

Table 26. Partnerships, programs, and funding opportunities that can support Measure 1.

| Opportunity | Description |
| --- | --- |
| Skills and Knowledge Enhancement | Fish Health Program with Northwest Indian Fisheries Commission Introduction to Salmon Habitat Restoration in S’ólh Téméxw by Matt Foy through the Healthy Watersheds Initiative Bachelor of Science in Native Environmental Science (NW Indian College, Port Gamble S’Klallam Extended Campus Site) Northwest Environmental Training Center (NWETC) |
| Funding | Puget Sound Riparian Systems Lead Grants with Washington State Department of Ecology |
| Other Resources | Ecosystems in Washington with Washington Department of Fish and Wildlife Restoration Resources with Rivers Edge West |

Measure 2. Eelgrass, surfgrass, and kelp protection and restoration

Like Measure 1, outside of the public administration sector, the current and projected regional workforce appears to have few to no private-sector jobs available in habitat protection and restoration. However, Tribal staff are deeply experienced in these topics, and the Tribal community prioritizes knowledge sharing and training for youth in habitat preservation and restoration. Habitat conservation and associated environmental work is also one of the fastest growing sectors nationally (U.S. Bureau of Labor Statistics, 2025).

Measure 1 (see above, Table 25) describes the occupations and associated KSA needed to implement this measure.

Table 27 lists several partnerships, programs, and funding opportunities that can support Tribal employment in eelgrass, surfgrass, and kelp protection and restoration.

Table 27. Partnerships, programs, and funding opportunities that can support Measure 2.

| Opportunity | Opportunity |
| --- | --- |
| Skills and Knowledge Enhancement | NASA ARSET: Earth Observations of Blue Carbon Ecosystems Eelgrass Course with Back to the Bays Initiative, Cornell Cooperative Extension’s Marine Program Department of Ecology Coastal Training Program |
| Funding | Puget Sound National Estuary Program Funding Opportunities Coastal Habitat Restoration and Resilience Grants for Tribes and Underserved Communities with NOAA |
| Other Resources | Habitat Strategic Initiative Lead Implementation Workshops with Puget Sound National Estuary Program NOAA Digital Coast Academy |

### Buildings

Measure 3. Residential, commercial, and municipal energy efficiency and electrification upgrades in existing buildings

Energy efficient buildings are a rapidly growing trend in the region due to policy changes, new building innovations, and public interest. In its Vision 2040 report, Puget Sound Regional Council noted that innovations in clean technology and renewable energy are a unique opportunity for economic prosperity in the Puget Sound Region. Washington state’s Clean Buildings Performance Standard (CBPS) now requires existing buildings larger than 50,000 square feet to reach energy efficiency goals. Many of the state’s largest buildings must comply with this new policy by 2026 (Moore, 2024). In Washington state, jobs for energy engineers focused on energy efficiency in construction are expected to grow by 3-5% from 2023 to 2033, according to ONET. Commercial HVAC jobs are projected to see the most significant growth from 2021 to 2030 in Washington, adding more jobs than in any other energy employment subsector (Net-Zero Northwest, 2023). Across the United States, the market for energy-efficient materials, which are used in these jobs, is projected to grow by over 8.6% from 2024 to 2032 (Global Market Insights, 2024).

Certain occupations will be needed to support energy efficiency and electrification upgrades in existing Tribal buildings. These occupations are listed below along with the education, training, and KSA needed to perform the work.

Table 28. Summary of occupations, education, training, and KSA to implement Measure 3.

| Occupation | Education and Training | Selected Knowledge, Skills, and Abilities (KSA) |
| --- | --- | --- |
| Carpenters 47-2031 | - High school diploma - Previous work-related skill, knowledge, or experience | - Assemble and fasten materials to make frameworks or props, using hand tools and wood screws, nails, dowel pins, or glue. - Study specifications in blueprints, sketches, or building plans to prepare project layout and determine dimensions and materials required. - Shape or cut materials to specified measurements, using hand tools, machines, or power saws. |
| Insulation Workers, Floor, Ceiling, and Wall 47-2131 | - High school diploma - Previous work-related skill, knowledge, or experience | - Measure and cut insulation for covering surfaces, using tape measures, handsaws, power saws, knives, or scissors. - Fit, wrap, staple, or glue insulating materials to structures or surfaces, using hand tools or wires. - Cover and line structures with blown or rolled forms of materials to insulate against cold, heat, or moisture, using saws, knives, rasps, trowels, blowers, or other tools and implements. - Distribute insulating materials evenly into small spaces within floors, ceilings, or walls, using blowers and hose attachments, or cement mortars. |
| Electrician 47-2111.00 | - Vocational school, on-the-job training, or associate’s degree - One to several years of on-the-job training (formal and informal) - May have apprenticeship program (3–4 years) - Licensing often required | - Inspect electrical systems, equipment, or components to identify hazards, defects, or the need for adjustment or repair and to ensure compliance with codes. - Direct or train workers to install, maintain, or repair electrical wiring, equipment, or fixtures. - Use a variety of tools or equipment, such as power construction equipment, measuring devices, power tools, and testing equipment, such as oscilloscopes, ammeters, or test lamps. |
| Energy Engineers, Except Wind and Solar 17-2199.03 | - Bachelor’s degree - Additional certificate or master’s degree may be needed - Several years of work-related experience, on-the-job training, and/or vocational training | - Identify and recommend energy savings strategies to achieve more energy-efficient operation. - Conduct energy audits to evaluate energy use and to identify conservation and cost reduction measures (for example, sealing, insulation, HVAC upgrades, lighting improvements). - Direct the implementation of energy management projects. - Install and maintain smart thermostats, energy monitoring devices, and low-voltage control systems that optimize building performance and support electrification goals - Manage the development, design, or construction of energy conservation projects to ensure acceptability of budgets and timelines, conformance to federal and state laws, or adherence to approved specifications. - Perform energy modeling, measurement, verification, commissioning, or retro-commissioning. - Research renewable or alternative energy systems or technologies, such as solar thermal or photovoltaic (PV) energy. - Promote awareness or use of alternative or renewable energy sources. |
| Heating, Air Conditioning, and Refrigeration Mechanics and Installers 49-9021.00 | - Vocational school, on-the-job training, or associate’s degree - Certificate (post-high school) often required - 1–2 years of on-the-job training (formal and informal) - May have an apprenticeship program | - Study blueprints, design specifications, or manufacturers' recommendations to ascertain the configuration of heating or cooling equipment components and to ensure the proper installation of components. - Recommend, develop, or perform preventive or general maintenance procedures, such as cleaning, power-washing, or vacuuming equipment, oiling parts, or changing filters - Install or repair self-contained ground source heat pumps or hybrid ground or air source heat pumps to minimize carbon-based energy consumption and reduce carbon emissions. - Install or repair air purification systems, such as specialized filters or ultraviolet light purification systems. - Repair or service HVAC systems to improve efficiency, such as by changing filters, cleaning ducts, and refilling non-toxic refrigerants. |
| Construction Laborer 47-2061.00 | - High school diploma or less - Few months to one year of on-the-job training - May have an apprenticeship program | - Perform site activities required of green certified construction practices, such as implementing waste management procedures, identifying materials for reuse, or installing erosion or sedimentation control mechanisms. - Provide assistance to craft workers, such as carpenters, plasterers, or masons. - Raze buildings or salvage useful materials. |
| Construction Manager 11-9021.00 | - Most of these occupations require a four-year bachelor's degree, but some do not - Several years of work-related experience, on-the-job training, and/or vocational training. | - Interpret and explain plans and contract terms to representatives of the owner or developer, including administrative staff, workers, or clients. - Confer with supervisory personnel, owners, contractors, or design professionals to discuss and resolve matters, such as work procedures, complaints, or construction problems. - Perform, or contract others to perform, pre-building assessments, such as conceptual cost estimating, rough order of magnitude estimating, feasibility, or energy efficiency, environmental, and sustainability assessments. - Secure third-party verification from sources, such as Leadership in Energy Efficient Design (LEED), to ensure responsible design and building activities or to achieve favorable LEED ratings for building projects. - Develop construction budgets to compare green and non-green construction alternatives in terms of short-term costs, long-term costs, or environmental impacts. - Implement training programs on environmentally responsible building topics to update employee skills and knowledge |

Table 29 lists several partnerships, programs, and funding opportunities that can support Tribal employment in energy efficiency and electrification upgrades in existing buildings.

Table 29. Partnerships, programs, and funding opportunities that can support Measure 3.

| Opportunity | Opportunities |
| --- | --- |
| Skills and Knowledge Enhancement | Clean Energy Development Program with Northwest Native Chamber Washington State Energy Code Online Training Washington State University Energy Program Events and Trainings |
| Funding | Tribal Energy Development Capacity Grant with U.S. Department of the Interior Indian Affairs EPA Climate Pollution Reduction Grants |
| Other Resources | Events and Webinars with Better Buildings, U.S. Department of Energy Built Environment - Center for Sustainable Energy |

Measure 4. Rooftop solar installations on key facilities

The demand for rooftop solar has been growing across Washington state (WASEIA, 2024). For many Tribal communities, rooftop solar has been a leading strategy to achieving energy sovereignty. In 2023 alone, Washington state generated more solar energy than in the combination of all years before 2020 (Altieri and Jones, 2024). Based on a business-as-usual scenario from the Washington Urban Infrastructure Lab, Washington is expected to see a growth in 200 solar jobs annually over 10 years, which would generate $148 million in labor income (Kennedy, 2025). In the Net-Zero Northwest pathways scenario analysis, 587 new jobs are expected from 2021 to 2030 (Net-Zero Northwest, 2023). According to the Bureau of Labor Statistics, solar PV installer is the second-fastest growing occupation in the United States. Solar PV installer jobs are projected to grow by 45% from 2023-2033 (U.S. Bureau of Labor Statistics, 2025).

Rooftop solar is an emerging field with evolving skills and knowledge. Implementation of this measure will require involvement from the following occupations, which are listed along with the education, training, and KSA needed to perform the work.

Table 30. Summary of occupations, education, training, and KSA to implement Measure 4.

| Occupation | Education and Training | Selected Knowledge, Skills, and Abilities (KSA) |
| --- | --- | --- |
| Carpenters 47-2031 | - High school diploma - Previous work-related skill, knowledge, or experience | - Assemble and fasten materials to make frameworks or props, using hand tools and wood screws, nails, dowel pins, or glue. - Study specifications in blueprints, sketches, or building plans to prepare project layout and determine dimensions and materials required. - Shape or cut materials to specified measurements, using hand tools, machines, or power saws. |
| Electrician 47-2111.00 | - Vocational school, on-the-job training, or associate’s degree - One to several years on-the-job training (formal and informal) - May have apprenticeship program (3–4 years) - Licensing often required | - Inspect electrical systems, equipment, or components to identify hazards, defects, or the need for adjustment or repair, and to ensure compliance with codes. - Direct or train workers to install, maintain, or repair electrical wiring, equipment, or fixtures. - Use a variety of tools or equipment, such as power construction equipment, measuring devices, power tools, and testing equipment, such as oscilloscopes, ammeters, or test lamps. |
| Solar PV installer 47-2231.00 | - High school diploma - Few months to one year of on-the-job training - May have an apprenticeship program | - Install PV systems in accordance with codes and standards, using drawings, schematics, and instructions. - Apply knowledge of the National Electrical Code (NEC), OSHA standards, and local permitting requirements to ensure solar installations meet legal and safety guidelines - Check electrical installation for proper wiring, polarity, grounding, or integrity of terminations. - Identify installation locations with proper orientation, area, solar access, or structural integrity for PV arrays. - Evaluate rooftops and structural conditions, estimate solar potential, and determine appropriate PV system size and equipment based on sun exposure, tilt, shading, and load profiles. - Determine connection interfaces for additional subpanels or for connecting PV systems with utility services or other power generation sources. - Perform routine PV system maintenance on modules, arrays, batteries, power conditioning equipment, safety systems, structural systems, weather sealing, or balance of systems equipment. |

Table 31 lists several partnerships, programs, and funding opportunities that can support Tribal employment in rooftop solar installations on key facilities.

Table 31. Partnerships, programs, and funding opportunities that can support Measure 4.

| Opportunity | Opportunities |
| --- | --- |
| Skills and Knowledge Enhancement | Learn about Solar for Free with Solar Energy International Solar Installation Training with SkillCat Education and Training with Solar Washington Solar Thought Leadership – Center for Sustainable Energy Remote Energy |
| Funding | Tribal Energy Alternatives Tribal Energy Resource Agreements and Tribal Energy Development Organizations |
| Other Resources | Global Solar Atlas Solar Energy with Pacific Northwest National Library |

Measure 5. Resilience hubs in existing buildings

The need for resilience hubs is growing across Native nations. Climate change impacts Tribal communities disproportionately, especially if a Tribal community is near and depends upon natural resources for cultural and economic needs (UW Climate Impacts Group, 2025). According to the Tribe's Natural Resources Department Climate Change Impact Assessment, the Port Gamble S’Klallam Tribal community is at risk for exposure to sea level rise, wildfire and wildfire smoke, severe storms, extreme heat, flooding, streamflow changes, and other harmful climate impacts. According to ONET, projected growth for climate change policy analysts is expected to grow by 6% to 8%. Additionally, many existing occupations not traditionally considered to be connected to the adaptation or resilience fields are now incorporating climate components into their job duties as climate impacts intensify (Pouy, 2024).

The resilience field requires interdisciplinary collaboration to achieve long-term success. Implementation of this measure will require involvement from the following occupations, which are listed along with the education, training, and KSA needed to perform the work.

Table 32. Summary of occupations, education, training, and KSA to implement Measure 5.

| Occupation | Education and Training | Selected Knowledge, Skills, and Abilities (KSA) |
| --- | --- | --- |
| Carpenters 47-2031 | - High school diploma - Previous work-related skill, knowledge, or experience | - Assemble and fasten materials to make frameworks or props, using hand tools and wood screws, nails, dowel pins, or glue. - Study specifications in blueprints, sketches, or building plans to prepare project layout and determine dimensions and materials required. - Shape or cut materials to specified measurements, using hand tools, machines, or power saws. |
| Insulation Workers, Floor, Ceiling, and Wall 47-2131 | - High school diploma - Previous work-related skill, knowledge, or experience | - Measure and cut insulation for covering surfaces, using tape measures, handsaws, power saws, knives, or scissors. - Fit, wrap, staple, or glue insulating materials to structures or surfaces, using hand tools or wires. - Cover and line structures with blown or rolled forms of materials to insulate against cold, heat, or moisture, using saws, knives, rasps, trowels, blowers, or other tools and implements. - Distribute insulating materials evenly into small spaces within floors, ceilings, or walls, using blowers and hose attachments, or cement mortars. |
| Electrician 47-2111.00 | - Vocational school, on-the-job training, or associate’s degree - One to several years of on-the-job training (formal and informal) - May have apprenticeship program (3-4 years) - Licensing often required | - Inspect electrical systems, equipment, or components to identify hazards, defects, or the need for adjustment or repair and to ensure compliance with codes. - Direct or train workers to install, maintain, or repair electrical wiring, equipment, or fixtures. - Use a variety of tools or equipment, such as power construction equipment, measuring devices, power tools, and testing equipment, such as oscilloscopes, ammeters, or test lamps. |
| Heating, Air Conditioning, and Refrigeration Mechanics and Installers 49-9021.00 | - Vocational school, on-the-job training, or associate’s degree - Certificate (post-high school) often required - 1–2 years of on-the-job training (formal and informal) - May have an apprenticeship program | - Study blueprints, design specifications, or manufacturers' recommendations to ascertain the configuration of heating or cooling equipment components and to ensure the proper installation of components. - Recommend, develop, or perform preventive or general maintenance procedures, such as cleaning, power-washing, or vacuuming equipment, oiling parts, or changing filters - Install or repair self-contained ground source heat pumps or hybrid ground or air source heat pumps to minimize carbon-based energy consumption and reduce carbon emissions. - Install or repair air purification systems, such as specialized filters or ultraviolet light purification systems. - Repair or service HVAC systems to improve efficiency, such as by changing filters, cleaning ducts, and refilling non-toxic refrigerants. |
| Construction Laborer 47-2061.00 | - High school diploma or less - Few months to one year of on-the-job training - May have an apprenticeship program | - Perform site activities required of green certified construction practices, such as implementing waste management procedures, identifying materials for reuse, or installing erosion or sedimentation control mechanisms. - Provide assistance to craft workers, such as carpenters, plasterers, or masons. - Raze buildings or salvage useful materials. |
| Construction Manager 11-9021.00 | - Most of these occupations require a four-year bachelor's degree, but some do not - Several years of work-related experience, on-the-job training, and/or vocational training. | - Interpret and explain plans and contract terms to representatives of the owner or developer, including administrative staff, workers, or clients. - Confer with supervisory personnel, owners, contractors, or design professionals to discuss and resolve matters, such as work procedures, complaints, or construction problems. - Perform, or contract others to perform, pre-building assessments, such as conceptual cost estimating, rough order of magnitude estimating, feasibility, or energy efficiency, environmental, and sustainability assessments. - Secure third-party verification from sources, such as Leadership in Energy Efficient Design (LEED), to ensure responsible design and building activities or to achieve favorable LEED ratings for building projects. - Develop construction budgets to compare green and non-green construction alternatives, in terms of short-term costs, long-term costs, or environmental impacts. - Implement training programs on environmentally responsible building topics to update employee skills and knowledge |
| Emergency Management Directors 11-9161 | - Bachelor’s degree - Considerable work-related skill, knowledge, or experience | - Consult with officials of Tribal government, local and area governments, schools, hospitals, and other institutions to determine their needs and capabilities in the event of a natural disaster or other emergency. - Develop and maintain liaisons with Tribal departments, municipalities, county departments, and similar entities to facilitate plan development, response effort coordination, and exchanges of personnel and equipment. - Coordinate disaster response or crisis management activities, such as ordering evacuations, opening public shelters, and implementing special needs plans and programs. - Support the design or retrofit of buildings to serve dual functions (daily community use and emergency response) by coordinating HVAC, electrical, water, and backup systems for uninterrupted service during climate or energy events. - Prepare emergency situation status reports that describe response and recovery efforts, needs, and preliminary damage assessments. - Propose alteration of emergency response procedures, based on regulatory changes, technological changes, or knowledge gained from outcomes of previous emergency situations. - Plan and implement culturally responsive emergency sheltering, communications, and services that reflect the needs and strengths of Tribal communities, including elders, youth, and those with limited mobility. - Develop reports, briefs, and plans to inform and coordinate with stakeholders on climate change, emergency response, and health services. - Direct, train, or supervise teams in healthcare, sustainability, emergency response, or skilled trades to ensure quality response to emergency events |
| Medical and Health Services Managers 11-9111.00 | - Bachelor’s degree, but some may not - Master’s degree may be required - License may be required (for example, nursing) - Several years of work-related experience, on-the-job training, and/or vocational training | - Develop or expand and implement medical programs or health services that promote research, rehabilitation, and community health. - Consult with medical, business, and community groups to discuss service problems, respond to community needs, enhance public relations, coordinate activities and plans, and promote health programs. - Develop instructional materials and conduct in-service and community-based educational programs. - Inspect facilities and recommend building or equipment modifications to ensure emergency readiness and compliance with access, safety, and sanitation regulations. |

Table 33 lists several partnerships, programs, and funding opportunities that can support Tribal employment in resilience hubs in existing buildings.

Table 33. Partnerships, programs, and funding opportunities that can support Measure 5.

| Opportunity | Opportunities |
| --- | --- |
| Skills and Knowledge Enhancement | Education and Training with Indigenous Climate Resilience Network Tribal Climate Adaptation Guidebook Institute for Tribal Environmental Professionals – Adaptation Planning Toolkit Bachelor of Arts in Native Studies Leadership (NW Indian College, Port Gamble S’Klallam Extended Campus Site) Climate Resilience Workforce Development Fellowship Program with ATNI Remote Energy - Empowering Underrepresented Communities |
| Funding | Tribal Community Resilience Annual Awards Program with U.S. Department of the Interior Indian Affairs |
| Other Resources | ATNI Climate Events and Webinars with Better Buildings, U.S. Department of Energy Adapting to climate change in the Pacific Northwest and Alaska with EPA Region 10 Actionable Science Webinars with Northwest Climate Adaptation Science Center Climate Adaptation Strategies for Pacific Northwest Forests with Northwest Natural Resource Group |

### Transportation

Measure 6. Tribal fleet electrification and charging

Tribal fleet electrification is a rapidly growing industry in Washington state and across Pacific Northwest Tribal Nations (Washington State Department of Commerce). In 2023, WA Department of Commerce announced nearly $1 million awarded for Tribal fleet electrification grants to five separate projects throughout the state (Washington State Department of Commerce). In Washington state, 20% of new vehicle sales in 2023 were from battery electric vehicles and plug-in hybrid electric vehicles (Sowder, 2024). This sector is driven by state mandates, funding opportunities, and strong public interest in transitioning to a clean energy future. Clean vehicle jobs across the United States increased by 14.7% in 2022 (Pouy, 2024). Battery electric vehicle employment had the greatest increase within the U.S. clean transportation industry: it grew by almost 27% according to the Environmental and Energy Study Institute. In Washington, jobs in vehicle maintenance are expected to grow from 2021 to 2030 (Net-Zero Northwest, 2023).

Fleet electrification is an emerging field with evolving skills and knowledge. Implementation of this measure will require involvement from the following occupations, which are listed along with the education, training, and KSA needed to perform the work.

Table 34. Summary of occupations, education, training, and KSA to implement Measure 6.

| Occupation | Education and Training | Selected Knowledge, Skills, and Abilities (KSA) |
| --- | --- | --- |
| Electrician 47-2111.00 | - Vocational school, on-the-job training, or associate’s degree - One to several years of on-the-job training (formal and informal) - May have apprenticeship program (3–4 years) - Licensing often required | - Inspect electrical systems, equipment, or components to identify hazards, defects, or the need for adjustment or repair and to ensure compliance with codes. - Direct or train workers to install, maintain, or repair electrical wiring, equipment, or fixtures. - Use a variety of tools or equipment, such as power construction equipment, measuring devices, power tools, and testing equipment, such as oscilloscopes, ammeters, or test lamps. |
| Electrical and Electronics Installers and Repairers, Transportation Equipment 49-2093 | - Vocational school, on-the-job training, or associate’s degree - Previous work-related skill, knowledge, or experience is required - 1–2 years of training (formal and informal) | - Inspect and test electrical systems and equipment to locate and diagnose malfunctions, using visual inspections, testing devices, and computer software. - Reassemble and test equipment after repairs. - Adjust, repair, or replace defective wiring and relays in ignition, lighting, air-conditioning, and safety control systems, using electrician's tools. - Install electrical equipment such as air-conditioning, heating, or ignition systems and components such as generator brushes and commutators, using hand tools. - Install, configure, and maintain Level 2 and direct current fast charging stations, including communication protocols, load balancing, and safety standards. |
| Automotive Engineers 17-2141 | - Bachelor’s degree, but some may not - License may be required (for example, engineer) - Several years of work-related experience, on-the-job training, and/or vocational training | - Calibrate vehicle systems, including control algorithms or other software systems. - Design or analyze automobile systems in areas such as aerodynamics, alternate fuels, ergonomics, hybrid power, brakes, transmissions, steering, calibration, safety, or diagnostics. - Research or implement green automotive technologies involving alternative fuels, electric or hybrid cars, or lighter or more fuel-efficient vehicles. |
| Automotive Service Technicians and Mechanics 49-3023.00 | - Vocational school, on-the-job training, or associate’s degree - Previous work-related skill, knowledge, or experience is required - May have apprenticeship program | - Inspect vehicles for damage and record findings so that necessary repairs can be made. - Perform routine and scheduled maintenance services, such as oil changes, lubrications, and tune-ups. - Change spark plugs, fuel filters, air filters, and batteries in hybrid electric vehicles. - Perform electric vehicle diagnostics using manufacturer-specific and universal diagnostic tools to identify and resolve faults in high-voltage batteries, electric drivetrains, and onboard charging systems |

Table 35 lists several partnerships, programs, and funding opportunities that can support Tribal employment in Tribal fleet electrification and charging.

Table 35. Partnerships, programs, and funding opportunities that can support Measure 6.

| Opportunity | Opportunity |
| --- | --- |
| Skills and Knowledge Enhancement | Western Washington Clean Cities Workforce Training Hub Public Electric Vehicle Charging Infrastructure Playbook with Joint Office of Energy and Transportation Electric Vehicles (EVs) – Center for Sustainable Energy Native Infrastructure Careers and Education (NICE) Project |
| Funding | Puget Sound REV Funding Green Transportation Program Funding Opportunities with Washington State University |
| Other Resources | Puget Sound REV Electric Vehicles and Infrastructure Planning with Puget Sound Clean Air Agency |

### Summary of Workforce Needs and Additional Resources

Implementing the CCAP measures comes with distinct opportunities to support Tribal workforce development and support overarching Tribal goals and priorities around cultural preservation, community health and wellbeing, habitat restoration and protection, energy sovereignty, and community resilience. Given the relatively small regional employment base, focused effort will be needed to prioritize CCAP jobs for Tribal members. Table 36 below summarizes anticipated workforce needs for CCAP implementation across all measures.

Table 36. Anticipated workforce needs for CCAP implementation across all measures.

| Measure | Workforce Need 1 | Workforce Need 2 |
| --- | --- | --- |
| 1. Forest, wetland, and riparian understory protection and restoration | Support education and training for Tribal youth interested in these fields, which may include a master’s degree or PhD. | Identify consistent partners for recruiting seasonal work crew support. |
| 2. Eelgrass, surfgrass, and kelp protection and restoration | Support education and training for Tribal youth interested in these fields, which may include a master’s degree or PhD. | Identify consistent partners for recruiting seasonal work crew support. |
| 3. Residential, commercial, and municipal energy efficiency and electrification upgrades in existing buildings | Support education and training for Tribal youth interested in these fields. In general, a high school diploma or vocational training is needed. A bachelor’s or master’s degree is needed for energy engineers. | Provide focused in-person and online re-training for existing Tribal staff that includes transportation, childcare, and other services that support participation. |
| 4. Rooftop solar installations on key facilities | Support education and training for Tribal youth interested in these fields to attain a high school diploma and/or the necessary vocational training. | Provide focused in-person and online re-training for existing Tribal staff that includes transportation, childcare, and other services that support participation. |
| 5. Resilience hubs in existing buildings | Support education and training for Tribal youth interested in these fields, which can extend from a high school diploma for construction-related jobs to a bachelor’s or master’s degree for health and emergency management jobs. | Provide focused in-person and online re-training for existing Tribal staff that includes transportation, childcare, and other services that support participation. |
| 6. Tribal fleet electrification and charging | Support education and training for Tribal youth interested in these fields to attain the necessary vocational training. | Provide focused in-person and online re-training for existing Tribal staff that includes transportation, childcare, and other services that support participation. |

In addition to the partners and programs listed for each specific measure in the previous sections, several other partners and programs can assist the Tribe’s efforts more generally. Key additional partners include:

- WA Department of Commerce Energy Policy Office houses the workforce development team.

- WA Employment Security Department may be able to provide more detailed industry and occupation trends and projections. It also manages workforce centers and support policy development.

- WA Workforce Training and Education Coordinating Board liaises with educational institutions across the state to support education, training, and workforce development needs. Their team includes specialists in clean energy technology workforce development and houses the Clean Energy Technology Workforce Advisory Committee.

- WA State Board of Community and Technical Colleges is establishing a Tribal Green Workforce Development Program.

- U.S. Department of Energy hosts the Energy Technology Innovation Partnership Project (ETIPP) and is a current funding and technical assistance partner of the Tribe.

- Spark Northwest works across the Northwest to install clean energy and support policy reform. It is a current Tribal partner.

General supportive services and programs relevant to the Tribe are summarized in Table 37 below.

Table 37. Supportive services and programs to aid CCAP measure implementation.

| Resource | Supportive Services Offered |
| --- | --- |
| Tribal / First Nations |  |
| Affiliated Tribes of Northwest Indians Economic Development Corporation (ATNI-EDC) | - Financial support - Loans - Small Business Credit Initiative - Northwest Native Lending Network - Jobs and contract opportunities |
| United Indians of All Tribes Foundation Native Workforce Services Program (NWSP) | - Job and career counseling - Academic advising and tutoring referrals - Support applying for: - Supplemental Nutrition Assistance Program (SNAP) - Unemployment benefits - Other benefit programs - Training and certification assistance - Job placement and referral services |
| United Indians of All Tribes Foundation Native Veterans Program | - Connection with other Native veterans - Sweat lodge sessions at Labateyah Youth Home - Annual and special events at Daybreak Star Cultural Center - Assistance with navigating and applying for benefits such as status with U.S. Department of Veterans Affairs (VA), VA and alternative health care, unemployment, food assistance - Referrals to many services through United Indians |
| First Nations Development Institute - Grantmaking | - Scholarships ($1,000–$1,500) for Native students in: - Agriculture - Food systems - Environmental sciences - Related fields - Grant funding to Tribal organizations for: - Workforce development - Youth programming - Community training initiatives |
| Federal |  |
| Job Corps | - Vocational training - Career training - Academic support - Transitional support - Job application assistance - Housing assistance - Childcare assistance - Transportation assistance |
| SNAP | - Monthly food assistance to eligible individuals and families |
| State |  |
| Washington State Department of Commerce | - Grant opportunities |
| Washington State Department of Ecology | - Grant opportunities |
| Regional |  |
| South Puget InterTribal Planning Agency (SPIPA) | - Cash assistance - Childcare services - Employment and job training - Non-financial support services: - Application assistance - Basic literacy and GED/High School 21 preparation - Capacity building and financial literacy - Interview skills and job readiness training - Labor market/job boards - Job retention coaching - Vocational rehabilitation services - Youth workforce services |
| Other |  |
| Grandfamilies & Kinship Support Network | - Information, referrals, and case coordination - Case management (available at pilot sites) - Emergency financial support (up to $1,500/year per family) for: - Groceries - Clothing - School supplies - Other urgent household needs - Peer-to-peer family support groups (online and in person) - Access to kinship navigators to help guide families to resources |
| MacArthur Foundation | - Grant opportunities |
| Living Wage Calculator | - Supports understanding of living wage requirements by location - Tool to set workforce compensation standards and plan economic support strategies |

# Next Steps

In the coming years, the Port Gamble S’Klallam Tribe will work to implement the CCAP alongside other key Tribal initiatives such as the Strategic Energy Plan and Tribal Campus Master Plan. Implementation of many CCAP measures is already underway, with emissions reductions and carbon storage anticipated as soon as this year in the buildings and natural systems sectors.

The Tribe’s success hinges partly on the success of partners. The state’s requirement to achieve net-zero energy by 2030 is essential for the Tribe to reach net-zero targets through the CCAP measures. Continuing to implement federal vehicle fuel efficiency standards, the state’s Clean Fuel Standard and refrigerant management policies, and the state’s internal combustion ban will also support the Tribe’s fleet electrification and building electrification plans. Should any of these policies change significantly or new requirements be codified at the federal, state, or county level, the Tribe will reassess the impact and costs of CCAP measures to determine if changes in Tribal goals and investment are needed in emissions reduction and carbon storage.

The Port Gamble S’Klallam Tribe’s Natural Resources department manages, protects, enhances, conserves, and restores culturally relevant species, landscapes, and seascapes integral to the unique identity of the S’Klallam People. These actions include protecting the treaty rights of the natural and cultural resources of the Point No Point Treaty. The vision of the Natural Resources department is to provide optimal and sustainable management of the Tribe’s natural and cultural resources for now and, at least, seven generations to come.

If the net cost value has parentheses around it, it indicates cost savings (i.e., the estimated cost savings outweigh the estimated costs).

Estimated costs are separated by government and community costs. The community costs include the costs and cost savings associated with CCAP measures that impact community members and businesses; for example, measure 4 will result in cost savings for the Tribe and no cost to the community to implement.

Noo-Kayet Investments is the Tribe’s commercial entity and operates the casino, hotel, grow facility, and gas station.

Estimated emissions reductions for 2031-2050 for Measure 4 are 0 MTCO2e due to the assumption the State of Washington fully implements CETA and achieves net-zero energy by 2030. If successful, the Tribe’s energy emissions would be addressed by state action.

Estimated emissions reductions for 2031-2050 for Measure 5 are 0 MT CO2e due to the assumption the State of Washington fully implements CETA and achieves net-zero energy by 2030. If successful, the Tribe’s energy emissions would be addressed by state action.

Generally, co-pollutant emissions from government operations would be included in the scope of communitywide emissions, as the majority of government operations typically fall within the geographic boundaries of the community. For this CCAP, local stationary combustion data at the community level was unavailable, so emissions were estimated from statewide data scaled to the community level, while the government operations stationary combustion analysis used local data. Government operations emissions may be reported as greater than community emissions due to data limitations.